## Sheet1
Estimate Quantity (only Figures) | Item Detailed Specification Description | Work Type eg. Earth Work, Electrical works.. etc ( upto 200 Characters) | Item Short Description ( upto 100 Characters) | APSS / Morth Cl. Number ( upto 200 Characters) | Rate (INR) ( Upto 2 Decimals ) | UOM ( upto 50 Characters) | Amount (INR) ( Upto 2 Decimals )
4 | S-CI Pipe earthing 80mm dia 2.75m long | Earth work | S-CI Pipe earthing 80mm dia 2.75m long | As per relevent standard specification | 2789 | EA | 11156
2 | ERECTION OF EQUIPMENT Substations Erection of 11 KVAB Switch including alignment and earthing | Earth work | Erection of 11kv ABSwitch incl earthing | As per relevent standard specification | 3200 | EA | 6400
4 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, sand & brick masonry on four sides of the earth pit and plastering to brick masonry work, running of earth wire etc., complete, exclud | Civil Work | ERECT. OF LINES-Providing of earthing | As per relevent standard specification | 1234.2 | EA | 4936.8
4 | UG Cables Jointing :Outdoor / Indoor end termination 11 KV XLPE UG Cable 3 x 300 Sqmm | Electrical Work | OD/Idoor end termination 11kv 3x300 xlpe | As per relevent standard specification | 2370.63 | EA | 9482.52
50 | Lay-DR 11KV 3x300sqmm UG Cb HG/BC/CC/BT | Electrical Work | Lay-DR 11KV 3x300sqmm UG Cb HG/BC/CC/BT | As per relevent standard specification | 631.06 | M | 31553
10 | Supply of Crane for replacing Equipment | Electrical Work | Supply of Crane for replacing Equipment | As per relevent standard specification | 1260 | HR | 12600
19.17 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand and curing etc. Including the cost of cement | Electrical Work | Mass concreting of supports incl. cement | As per relevent standard specification | 6579 | M3 | 126119.43
20 | Cutting Charges-MS Channel 75x40mm | Electrical Work | Cutting Charges-MS Channel 75x40mm | As per relevent standard specification | 9 | EA | 180
2.5 | Paving out conductor, providing temporary stays, tensioning, sagging correctly, fixing strain points, transferring to pin points binding, rectification of poles, guys and jumpering etc., including transport of material from road side | Electrical Work | Stringing of 55sqmm 33/11kv Line 3 Cond | As per relevent standard specification | 8500 | KM | 21250
10 | Sub Transportation of 9.1 Mts PSCC Poles to location from road side. | Electrical Work | SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | As per relevent standard specification | 407.29 | EA | 4072.9
10 | Excavation of pits in all soils except hard rock requiring blasting. 0.6 M x 0.9 M x 1.5 M | Civil Work | EXCAVATION OF PIT 0.6 M x 0.9 M x 1.5 M | As per relevent standard specification | 600 | EA | 6000
10 | Erec of 9.1 Mts PSCC poles for stuts | Electrical Work | Erec of 9.1 Mts PSCC poles for stuts | As per relevent standard specification | 2400 | EA | 24000
50 | SubTrnsprt 11M PSCC Pole incl. L&UL<10KM | Electrical Work | SubTrnsprt 11M PSCC Pole incl. L&UL<10KM | As per relevent standard specification | 431.97 | EA | 21598.5
50 | Excavation of pits in all soils except hard rock requiring blasting. 0.75 M x 0.9 M x 1.95 M | Civil Work | EXCAV. OF PIT 0.75 M x 0.9 M x 1.95 M | As per relevent standard specification | 720 | EA | 36000
50 | Errection of 11 M long PSCC pole | Electrical Work | Errection of 11 M long PSCC pole | As per relevent standard specification | 4165.28 | EA | 208264
4 | Providing of RCC collar to existing earth pit.Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M he | Electrical Work | ERECT. OF LINES-Providing of RCC collar | As per relevent standard specification | 386 | EA | 1544
2 | Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | Electrical Work | Painting AB switch OP rods with PO red | As per relevent standard specification | 142 | EA | 284
4 | S-Earthing GI Wire No 8 incl mat | Electrical Work | S-Earthing GI Wire No 8 incl mat | As per relevent standard specification | 105 | KG | 420
40 | S-Earthing GI flat 25x3 mm incl material | Electrical Work | S-Earthing GI flat 25x3 mm incl material | As per relevent standard specification | 105 | KG | 4200
75 | S-MS Bolts & Nuts,Washers etc., | Electrical Work | S-MS Bolts & Nuts,Washers etc., | As per relevent standard specification | 91.25 | KG | 6843.75
2 | LOADING & UNLOADING Conductor drums | Electrical Work | LOADING of Conductor drums | As per relevent standard specification | 202 | EA | 404
2 | UNLOADING of Conductor drums | Electrical Work | UNLOADING of Conductor drums | As per relevent standard specification | 100 | EA | 200
100 | Load-11/33KV XLPE UG cable all size | Electrical Work | Load-11/33KV XLPE UG cable all size | As per relevent standard specification | 18 | M | 1800
100 | Unload-11/33KV XLPE UG cable all size | Earth work | Unload-11/33KV XLPE UG cable all size | As per relevent standard specification | 18 | M | 1800
50 | LOADING of 11 KV V - Cross arms | Electrical Work | LOADING of 11 KV V - Cross arms | As per relevent standard specification | 4 | EA | 200
50 | LOADING & UNLOADING11 KV V - Cross arms | Electrical Work | UNLOADING of 11 KV V - Cross arms | As per relevent standard specification | 4 | EA | 200
7 | LOADING of 33 & 11 KV Disc insulators | Electrical Work | LOADING of 33 & 11 KV Disc insulators | As per relevent standard specification | 2 | CRT | 14
7 | UNLOADING of 33 & 11 KV Disc insulators | Electrical Work | UNLOADING of 33 & 11 KV Disc insulator | As per relevent standard specification | 2 | CRT | 14
2 | LOADING of 11 KV Metal parts | Electrical Work | LOADING of 11 KV Metal parts | As per relevent standard specification | 48 | BAG | 96
2 | UNLOADING of 11 KV Metal parts Bag | Electrical Work | UNLOADING of 11 KV Metal parts Bag | As per relevent standard specification | 48 | BAG | 96
4 | Loading of 11/33 KV IN/OUT door kits | Electrical Work | Loading of 11/33 KV IN/OUT door kits | As per relevent standard specification | 6 | EA | 24
4 | Un-loading of 11/33 KV IN/OUT door kits | Electrical Work | Un-loading of 11/33 KV IN/OUT door kits | As per relevent standard specification | 4 | EA | 16
50 | Previously 28.07.2020 - Laying of 2nd cable in excavated trench. | Electrical Work | Lay-2nd Cable in Excavated Trench | As per relevent standard specification | 204.1 | M | 10205
2 | LOADING & UNLOADING11 KV AB Switch Conventional type 200/400 A | Electrical Work | LOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 80 | EA | 160
2 | UNLOADING of 11 KV AB SWCH Con 200/400 A | Electrical Work | UNLOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 80 | EA | 160
150 | Load-11KV Polymer Pin Insulator-GI pin | Earth work | Load-11KV Polymer Pin Insulator-GI pin | As per relevent standard specification | 1 | EA | 150
150 | Unload-11KV Polymer Pin Insulator-GI pin | Electrical Work | Unload-11KV Polymer Pin Insulator-GI pin | As per relevent standard specification | 1 | EA | 150
1 | Load-33KV/11KV HT Trivector Meter | Electrical Work | Load-33KV/11KV HT Trivector Meter | As per relevent standard specification | 10 | EA | 10
1 | Unload-33KV/11KV HT Trivector Meter | Electrical Work | Unload-33KV/11KV HT Trivector Meter | As per relevent standard specification | 10 | EA | 10
1 | Erect-HT Trivector Meter | Electrical Work | Erect-HT Trivector Meter | As per relevent standard specification | 1000 | EA | 1000
1 | Testing of HT TVR Meter at site | Electrical Work | Testing of HT TVR Meter at site | As per relevent standard specification | 246 | EA | 246
1 | Transport of Cond Drum,VCBs >20 & <30Km | Earth work | Transport of Cond Drum,VCBs >20 & <30Km | As per relevent standard specification | 3691.38 | EA | 3691.38
0.95 | LOADING & UNLOADING M.S.Channels, Angles, Flats & Rods etc., | Electrical Work | LOADING of MS Channel,Angles,Flats&Rods | As per relevent standard specification | 221 | TO | 209.95
0.95 | UNLOADING of MS Channel,Angles,Flats&Rod | Electrical Work | UNLOADING of MS Channel,Angles,Flats&Rod | As per relevent standard specification | 185 | TO | 175.75
48 | FABRICATION Cutting Charges for MS Sections per cut MS Angle of all sizes | Electrical Work | Cutting Charges for MS angle all sizes | As per relevent standard specification | 7 | EA | 336
4 | Excavation of pits in hard rock requiring blasting. 0.75 M x 0.9 M x 1.95 M | Civil Work | EXCAV OF PIT HARD 0.75 Mx0.9 Mx1.95 M | As per relevent standard specification | 1217.63 | EA | 4870.52
8 | S-Mat. for Extn of M+3 Tower by 3M GALV | Electrical Work | S-Mat. for Extn of M+3 Tower by 3M GALV | As per relevent standard specification | 28520.64 | EA | 228165.12
4 | S-M+3 Tower GALV | Electrical Work | S-M+3 Tower GALV | As per relevent standard specification | 140674.3 | EA | 562697.2
4 | Erect- M+3 Tower GALV | Electrical Work | Erect- M+3 Tower GALV | As per relevent standard specification | 64576 | EA | 258304
8 | Erect-Extn of 3M for M+3 Tower GALV | Electrical Work | Erect-Extn of 3M for M+3 Tower GALV | As per relevent standard specification | 5168.95 | EA | 41351.6
4 | S-Tower Top (37Kg) GALV | Electrical Work | S-Tower Top (37Kg) GALV | As per relevent standard specification | 2902.54 | EA | 11610.16
4 | Erect-Tower Top (37Kg) GALV | Electrical Work | Erect-Tower Top (37Kg) GALV | As per relevent standard specification | 628.26 | EA | 2513.04
19.008 | Mass concreting of supports incl. cement | Electrical Work | Mass concreting of supports incl. cement | As per relevent standard specification | 6579 | M3 | 125053.632
4 | dismantegrated rock of size and circular canal to a depth and refilling it with earth after laying of cable | Electrical Work | Excavate-Earth in Hard Murram | As per relevent standard specification | 1504.5 | M3 | 6018
4 | S-Tower Stub (0.3Kg) | Electrical Work | S-Tower Stub (0.3Kg) | As per relevent standard specification | 25174.8 | EA | 100699.2
48 | FABRICATION Cutting Charges for MS Sections per cutMS Channel 100 x 50 mm | Electrical Work | Cutting Charges for MS chanl 100x50mm | As per relevent standard specification | 10 | EA | 480
8 | S-CI Pipe earthing 100mm dia 2.75m long | Electrical Work | S-CI Pipe earthing 100mm dia 2.75m long | As per relevent standard specification | 3486 | EA | 27888
4 | Fabrication and connecting to risers from earth mat to structures, equipment, marshalling boxes, electrical panels, PLCC panels, fencing posts etc.,.M.S./ G.S. Flat 50x6mm / 50 x 8 mm ( Above ground) | Earth work | Earthing for raisers of SS Flat 50x6 mm. | As per relevent standard specification | 41 | RMT | 164
2 | Conveyance of men and materials | Electrical Work | Protection-Men&Material Conveyance Chgrs | As per relevent standard specification | 16700 | LS | 33400
50 | S-GI Bolts & Nuts,Washers etc., | Civil Work | S-GI Bolts & Nuts,Washers etc., | As per relevent standard specification | 117.5 | KG | 5875
100 | Stringing of bus with panther conductor including jumpering etc., complete to all the equipment in SS fixing to all clamps and equipment. | Electrical Work | Stringing of bus with panther conductor | As per relevent standard specification | 327.68 | M | 32768
1 | Laying of UG Cable Erection of VCBs 11 KV | Electrical Work | Erection of 11kv VCB | As per relevent standard specification | 12000 | EA | 12000
1 | Construction of Plinth for mounting 11KV VCB of size 1.8mx1.8mx 0.75m (0.3m above GL & 0.45m below GL) with 1:3:6 CC , 40mm HBG metal including plastering and cost of cement | Civil Work | Con of Plinth for 11kv VCB 1.8x1.8x0.75m | As per relevent standard specification | 27629 | EA | 27629
4 | Excavation of pits in hard rock requiring blasting.0.76 M x 0.76M x 1.52M (2.6" x 2.6" x 5.0') | Civil Work | EXCAV. OF PIT HARD (2.6" x 2.6" x 5.0') | As per relevent standard specification | 1440 | EA | 5760
2 | ERECTION OF EQUIPMENT Substations Erection of 11 KVAB Switch including alignment and earthing | Electrical Work | Erection of 11kv ABSwitch incl earthing | As per relevent standard specification | 3200 | EA | 6400
600 | S-GI Bolts & Nuts,Washers etc., | Electrical Work | S-GI Bolts & Nuts,Washers etc., | As per relevent standard specification | 117.5 | KG | 70500
20 | FABRICATION Fabrication of materials Back clamps with 75 x 8 mm MS Flat | Electrical Work | Fab Back clamps with 75 x 8 mm MS Flat | As per relevent standard specification | 31 | EA | 620
18 | FABRICATION Drilling of holes upto 20 mm dia using power drills per HoleGI Pipes of all sizes | Electrical Work | FABR-Drilling of holes upto 20 mm dia 5 | As per relevent standard specification | 2 | EA | 36
18 | Supply of Betonite powder for earthing | Electrical Work | Supply of Betonite powder for earthing | As per relevent standard specification | 650 | BAG | 11700
1 | ERECTION OF EQUIPMENT Substations Erection of 11 KV LAS station type including earthing | Electrical Work | Erect of 11kv LA stn type incl earthing | As per relevent standard specification | 559 | SET | 559
6 | ERECTION OF LINES : Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, sand & brick masonry on four sides of the earth pit and plastering to brick masonry work, running of earth wire etc., complete, exclud | Electrical Work | ERECT. OF LINES-Providing of earthing | As per relevent standard specification | 1234.2 | EA | 7405.2
4 | ERECTION OF LINES : Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location ex | Electrical Work | Erection of RS Joist 150 x 150 mm | As per relevent standard specification | 1800 | EA | 7200
5.24 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand and curing etc. Including the cost of cement | Civil Work | Mass concreting of supports incl. cement | As per relevent standard specification | 6579 | M3 | 34473.96
120 | Fabrication and connecting to risers from earth mat to structures, equipment, marshalling boxes, electrical panels, PLCC panels, fencing posts etc.,.M.S./ G.S. Flat 50x6mm / 50 x 8 mm ( Above ground) | Electrical Work | Earthing for raisers of SS Flat 50x6 mm. | As per relevent standard specification | 41 | RMT | 4920
600 | Lay-4C/10C 2.5Sqmm Control Cable | Electrical Work | Lay-4C/10C 2.5Sqmm Control Cable | As per relevent standard specification | 27 | M | 16200
10 | Supply of Crane for replacing Equipment | Electrical Work | Supply of Crane for replacing Equipment | As per relevent standard specification | 1260 | HR | 12600
2.05 | LOADING & UNLOADING M.S.Channels, Angles, Flats & Rods etc., | Electrical Work | LOADING of MS Channel,Angles,Flats&Rods | As per relevent standard specification | 221 | TO | 453.05
2.05 | UNLOADING of MS Channel,Angles,Flats&Rod | Electrical Work | UNLOADING of MS Channel,Angles,Flats&Rod | As per relevent standard specification | 185 | TO | 379.25
2 | LOADING & UNLOADING11 KV AB Switch Conventional type 200/400 A | Electrical Work | LOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 80 | EA | 160
2 | UNLOADING of 11 KV AB SWCH Con 200/400 A | Electrical Work | UNLOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 80 | EA | 160
2 | LOADING of 11 KV Metal parts | Electrical Work | LOADING of 11 KV Metal parts | As per relevent standard specification | 48 | BAG | 96
2 | UNLOADING of 11 KV Metal parts Bag | Electrical Work | UNLOADING of 11 KV Metal parts Bag | As per relevent standard specification | 48 | BAG | 96
1 | LOADING & UNLOADING24 V Battery with charger | Electrical Work | LOADING of 24 V Battery with charger | As per relevent standard specification | 46 | EA | 46
1 | UNLOADING of 24 V Battery with charger | Electrical Work | UNLOADING of 24 V Battery with charger | As per relevent standard specification | 46 | EA | 46
1 | LOADING & UNLOADING 1 KV VCBs along with Panel boards | Earth work | LOADING of 11 KV VCBs&Panel boards | As per relevent standard specification | 1024 | EA | 1024
1 | UNLOADING of 11 KV VCBs&Panel boards | Earth work | UNLOADING of 11 KV VCBs&Panel boards | As per relevent standard specification | 1044.48 | EA | 1044.48
2 | Transport of Cond Drum,VCBs >20 & <30Km | Earth work | Transport of Cond Drum,VCBs >20 & <30Km | As per relevent standard specification | 3691.38 | EA | 7382.76
2 | Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | Electrical Work | Painting AB switch OP rods with PO red | As per relevent standard specification | 142 | EA | 284
8 | ERECTION OF LINES : Providing of RCC collar to existing earth pit.Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M he | Electrical Work | ERECT. OF LINES-Providing of RCC collar | As per relevent standard specification | 386 | EA | 3088
4 | S-Earthing GI Wire No 8 incl mat | Electrical Work | S-Earthing GI Wire No 8 incl mat | As per relevent standard specification | 105 | KG | 420
4 | LOADING & UNLOADING R.S. Joists 150 x 150mm / Rail poles | Electrical Work | LOADING of RSJoists150 x 150 mm/RailPole | As per relevent standard specification | 176 | EA | 704
4 | UNLOADING of RSJoists150 x150 mm/RailPol | Electrical Work | UNLOADING of RSJoists150 x150 mm/RailPol | As per relevent standard specification | 107 | EA | 428
4 | Excavation of pits in hard rock requiring blasting. 0.75 M x 0.9 M x 1.95 M | Electrical Work | EXCAV OF PIT HARD 0.75 Mx0.9 Mx1.95 M | As per relevent standard specification | 1217.63 | EA | 4870.52
1 | Erect-220V 80Ah ConvtLead AcidBtry | Electrical Work | Erect-220V 80Ah ConvtLead AcidBtry | As per relevent standard specification | 0 | EA | 0
4 | LOADING of 33 & 11 KV Disc insulators | Electrical Work | LOADING of 33 & 11 KV Disc insulators | As per relevent standard specification | 2 | CRT | 8
4 | UNLOADING of 33 & 11 KV Disc insulators | Electrical Work | UNLOADING of 33 & 11 KV Disc insulator | As per relevent standard specification | 2 | CRT | 8
1 | Erect-HT Trivector Meter | Electrical Work | Erect-HT Trivector Meter | As per relevent standard specification | 1000 | EA | 1000
1 | Erect of HT Metering Box incl box cost | Electrical Work | Erect of HT Metering Box incl box cost | As per relevent standard specification | 5000 | EA | 5000
1 | ERECTION OF EQUIPMENT Substations Erection of 11 KV HG Fuse set including earthing | Electrical Work | Erect. of 11kv HG Fuseset incl earthing | As per relevent standard specification | 740.52 | SET | 740.52
4 | Exca Hard pit w/o blast 0.76X0.76X1.83M | Electrical Work | Exca Hard pit w/o blast 0.76X0.76X1.83M | As per relevent standard specification | 840 | EA | 3360
1 | Construction of Plinth for mounting HT Trivector meter of size 0.6mx0.3mx 0.9m (0.6m above GL with Brick Masonary & 0.3m below GL with PCC 1:2:4 ) , with 1:2:4 CC bed 3" on top & with 1:4:8 CC bed 4" on bottom including cost of cement | Electrical Work | Con of Plinth HTTVR meter 0.6x0.3x0.9m | As per relevent standard specification | 5202 | EA | 5202
50 | S-GI Bolts & Nuts,Washers etc., | Transport Work | S-GI Bolts & Nuts,Washers etc., | As per relevent standard specification | 117.5 | KG | 5875
8 | ERECTION OF LINES : Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, sand & brick masonry on four sides of the earth pit and plastering to brick masonry work, running of earth wire etc., complete, exclud | Electrical Work | ERECT. OF LINES-Providing of earthing | As per relevent standard specification | 1234.2 | EA | 9873.6
4 | ERECTION OF LINES : Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location ex | Electrical Work | Erection of RS Joist 175 x 85 mm | As per relevent standard specification | 1800 | EA | 7200
5 | ERECTION OF LINES : Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, sand & brick masonry on four sides of the earth pit and plastering to brick masonry work, running of earth wire etc., complete, exclud | Civil Work | Mass concreting of supports incl. cement | As per relevent standard specification | 6579 | M3 | 32895
30 | S-Earthing GI flat 25x3 mm incl material | Electrical Work | S-Earthing GI flat 25x3 mm incl material | As per relevent standard specification | 105 | KG | 3150
1 | of size40x40x10 cm using 12mm to 20mm size HBG metal | Electrical Work | ERECT 11KV DP Structure with 9.1M Poles | As per relevent standard specification | 3057.96 | SET | 3057.96
1 | Laying of UG Cable Erection of VCBs 11 KV | Electrical Work | Erection of 11kv VCB | As per relevent standard specification | 12000 | EA | 12000
1 | Construction of Plinth for mounting 11KV VCB of size 1.8mx1.8mx 0.75m (0.3m above GL & 0.45m below GL) with 1:3:6 CC , 40mm HBG metal including plastering and cost of cement | Civil Work | Con of Plinth for 11kv VCB 1.8x1.8x0.75m | As per relevent standard specification | 27629 | EA | 27629
1 | 220V Battery charger service charges | Electrical Work | 220V Battery charger service charges | As per relevent standard specification | 5720 | EA | 5720
100 | Lay-4C/10C 2.5Sqmm Control Cable | Electrical Work | Lay-4C/10C 2.5Sqmm Control Cable | As per relevent standard specification | 27 | M | 2700
20 | FABRICATION Cutting Charges for MS Sections per cutMS Channel 100 x 50 mm | Electrical Work | Cutting Charges for MS chanl 100x50mm | As per relevent standard specification | 10 | EA | 200
3 | ERECTION OF EQUIPMENT Substations Erection of 11 KV LAS station type including earthing | Transport Work | Erect of 11kv LA stn type incl earthing | As per relevent standard specification | 559 | SET | 1677
3 | Erection of 11kv CT s | Transport Work | Erection of 11kv CT s | As per relevent standard specification | 718 | SET | 2154
3 | Erection of 11kv three phase PT s | Electrical Work | Erection of 11kv three phase PT s | As per relevent standard specification | 800 | SET | 2400
4 | ERECTION OF LINES : UG Cables Jointing :Outdoor / Indoor end termination 11 KV XLPE UG Cable 3 x 300 Sqmm | Electrical Work | OD/Idoor end termination 11kv 3x300 xlpe | As per relevent standard specification | 2370.63 | EA | 9482.52
100 | Lay-SR 11KV 3x300sqmm UG Cb HG/BC/CC/BT | Transport Work | Lay-SR 11KV 3x300sqmm UG Cb HG/BC/CC/BT | As per relevent standard specification | 465.46 | M | 46546
10 | Supply of Crane for replacing Equipment | Electrical Work | Supply of Crane for replacing Equipment | As per relevent standard specification | 1260 | HR | 12600
1 | Erection of 11 KV 200/400 A TT Type AB Switch with transportation and required bolts and nuts | Electrical Work | Erection of 11kv TT type AB switch | As per relevent standard specification | 1813.49 | EA | 1813.49
1 | LOADING & UNLOADING11 KV HG Fuse Sets | Electrical Work | LOADING of 11 KV HG Fuse Sets | As per relevent standard specification | 18 | EA | 18
1 | UNLOADING of 11 KV HG Fuse Sets | Electrical Work | UNLOADING of 11 KV HG Fuse Sets | As per relevent standard specification | 18 | EA | 18
1 | LOADING of 11 KV AB SWCH T.T.200/400 A | Electrical Work | LOADING of 11 KV AB SWCH T.T.200/400 A | As per relevent standard specification | 80 | EA | 80
1 | UNLOADING of 11 KV AB SWCH T.T.200/400 A | Electrical Work | UNLOADING of 11 KV AB SWCH T.T.200/400 A | As per relevent standard specification | 80 | EA | 80
0.7 | LOADING & UNLOADING M.S.Channels, Angles, Flats & Rods etc., | Electrical Work | LOADING of MS Channel,Angles,Flats&Rods | As per relevent standard specification | 221 | TO | 154.7
0.7 | UNLOADING of MS Channel,Angles,Flats&Rod | Electrical Work | UNLOADING of MS Channel,Angles,Flats&Rod | As per relevent standard specification | 185 | TO | 129.5
4 | Excavation of pits in all soils except hard rock requiring blasting. 0.75 M x 0.9 M x 1.95 M | Civil Work | EXCAV. OF PIT 0.75 M x 0.9 M x 1.95 M | As per relevent standard specification | 720 | EA | 2880
4 | Fabrication of 175x85/150x75mm RS joist pieces upto 12.5 meters length by welding joint together by means of 50x6mm flat and MS channel on either side including the cost of consumable, Painting of RS Joist on inner phasing with red Oxide before Joining as box pole. | Electrical Work | Fabricate&Paint-175x85/150x75mm RS Joist | As per relevent standard specification | 512.55 | EA | 2050.2
4 | Painting of RS Joist, Rail pole including cross arms and clamps with one coat of red oxid and two coats of Al. paint including cost of paint and consumables | Electrical Work | Painting of RS Joist(1C RO, 2C Al.Paint) | As per relevent standard specification | 1132 | EA | 4528
1 | Erect-12Meter Box pole | Electrical Work | Erect-12Meter Box pole | As per relevent standard specification | 3901.37 | EA | 3901.37
4 | LOADING of R.S. Joists 175 x 85 mm | Electrical Work | LOADING of R.S. Joists 175 x 85 mm | As per relevent standard specification | 76 | EA | 304
4 | UNLOADING of R.S. Joists 175 x 85 mm | Electrical Work | UNLOADING of R.S. Joists 175 x 85 mm | As per relevent standard specification | 50 | EA | 200
4 | Loading of 11/33 KV IN/OUT door kits | Electrical Work | Loading of 11/33 KV IN/OUT door kits | As per relevent standard specification | 6 | EA | 24
4 | Un-loading of 11/33 KV IN/OUT door kits | Electrical Work | Un-loading of 11/33 KV IN/OUT door kits | As per relevent standard specification | 4 | EA | 16
6 | LOADING & UNLOADING 33/11 KV CTs/ PTs | Electrical Work | LOADING of 33/11 KV CTs/ PTs | As per relevent standard specification | 165 | EA | 990
6 | UNLOADING of 33/11 KV CTs/ PTs | Electrical Work | UNLOADING of 33/11 KV CTs/ PTs | As per relevent standard specification | 128 | EA | 768