## Sheet1
Estimate Quantity (only Figures) | Item Detailed Specification Description | Work Type eg. Earth Work, Electrical works.. etc ( upto 200 Characters) | Item Short Description ( upto 100 Characters) | APSS / Morth Cl. Number ( upto 200 Characters) | Rate (INR) ( Upto 2 Decimals ) | UOM ( upto 50 Characters) | Amount (INR) ( Upto 2 Decimals )
520 | Lay-4C/10C 2.5Sqmm Control Cable | Electrical Work | Lay-4C/10C 2.5Sqmm Control Cable | As per relevent standard specification | 27 | M | 14040
200 | Laying of earth mat including excavation of trenches of depth 600mm, welding, connecting to equipment and connecting lightning shield to earth mat and earthing of fence posts, drilling and connecting earth rods including connecting cast iron pipes with the following sizes of MS Flats /GI Flats. including fabrication.75x 8mm MS Flat / GI Flat. | Earth work | Laying of earth mat,excavation 75x 8mm | As per relevent standard specification | 65 | RMT | 13000
18 | Cement concrete 1:3:6 ration with 40 MML HBG metal including the cost of all materials and labour complete 1.8 x 1.8 x 0.75 Cum.forVCB plinth | Earth work | Cement concrete with 40MM metal VCB plin | As per relevent standard specification | 5160 | M3 | 92880
3 | Laying of UG Cable Erection of VCBs33 KV | Electrical Work | Erection of 33kv VCB | As per relevent standard specification | 12500 | EA | 37500
8 | ERECTION OF LINES : Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, sand & brick masonry on four sides of the earth pit and plastering to brick masonry work, running of earth wire etc., complete, exclud | Electrical Work | ERECT. OF LINES-Providing of earthing | As per relevent standard specification | 1234.2 | EA | 9873.6
8 | S-CI Pipe earthing 100mm dia 2.75m long | Electrical Work | S-CI Pipe earthing 100mm dia 2.75m long | As per relevent standard specification | 3486 | EA | 27888
48 | Connection of equipment to bus and or another equipment with single zebra/Panther conductor including measuring, cutting,clamping and hoisting of suspension insulator assembly to support the conductor wherever necessary. | Electrical Work | Conn. of equip/bus single zebra/panther | As per relevent standard specification | 224 | EA | 10752
9 | ERECTION OF EQUIPMENT Substations Erection of 33 KV AB Switch including alignment and earthing | Electrical Work | Erection of 33kv ABSwitch incl earthing | As per relevent standard specification | 4500 | EA | 40500
10 | ERECTION OF LINES : Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location ex | Electrical Work | ERECTION OF LINES-Erection of 9.1M Pole | As per relevent standard specification | 2400 | EA | 24000
3 | Transport of Cond Drum,VCBs upto 10Km | Electrical Work | Transport of Cond Drum,VCBs upto 10Km | As per relevent standard specification | 2720.34 | EA | 8161.02
5.45 | TRANSPORT Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries.Above 30 KM and upto 50 KM | Electrical Work | TRANSPORT OF STEEL MATERIAL 30 TO 50KM | As per relevent standard specification | 617.1 | TO | 3363.195
10 | Sub Transportation of 9.1 Mts PSCC Poles to location from road side. | Electrical Work | SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | As per relevent standard specification | 407.29 | EA | 4072.9
20 | Supply of I-Bolts | Electrical Work | Supply of I-Bolts | As per relevent standard specification | 294 | EA | 5880
20 | ERECTION OF EQUIPMENT Fixing of clamps I - bolts | Earth work | Fixing of I-bolts | As per relevent standard specification | 20 | EA | 400
60 | Alluminum alloy T clamps conforming to A6 of IS 617, 4 bolted with hot dip galvanised bolts and double nuts with spring and flat washers of size M10 x 65 i.e(3/8" x 21/2 " to suit for panther ACSR on all three ways /on one side and Zebra ACSR on take off side or any other combination for carrying 800 A current rating . | Electrical Work | Sup T clamp LM6 Al alloy of 12 mm, 800 A | As per relevent standard specification | 299 | EA | 17940
60 | Labour charges for Fixing of all types of clamps | Electrical Work | Labour for Fixing of all types of clamps | As per relevent standard specification | 65 | EA | 3900
4 | Erect of 33kv LA stn type incl earthing | Electrical Work | Erect of 33kv LA stn type incl earthing | As per relevent standard specification | 880 | SET | 3520
208 | Fabrication and connecting to risers from earth mat to structures, equipment, marshalling boxes, electrical panels, PLCC panels, fencing posts etc.,.M.S./ G.S. Flat 50x6mm / 50 x 8 mm ( Above ground) | Electrical Work | Earthing for raisers of SS Flat 50x6 mm. | As per relevent standard specification | 41 | RMT | 8528
14.4 | Excavate-Pit for 33KV VCB | Civil Work | Excavate-Pit for 33KV VCB | As per relevent standard specification | 331 | M3 | 4766.4
10 | Excavation of pits in all soils except hard rock requiring blasting. 0.76 M x 0.76M x 1.83M (2.6" x 2.6" x 6.0") | Electrical Work | EXCAVATION OF PIT (2.6" x 2.6" x 6.0") | As per relevent standard specification | 700 | EA | 7000
60 | S-GI Bolts & Nuts,Washers etc., | Electrical Work | S-GI Bolts & Nuts,Washers etc., | As per relevent standard specification | 117.5 | KG | 7050
43 | Lay-DR 33KV 3x400sqmm UG Cb HG/BC/CC/BT | Electrical Work | Lay-DR 33KV 3x400sqmm UG Cb HG/BC/CC/BT | As per relevent standard specification | 749 | M | 32207
43 | Previously 28.07.2020 - Laying of 2nd cable in excavated trench. | Electrical Work | Lay-2nd Cable in Excavated Trench | As per relevent standard specification | 204.1 | M | 8776.3
32 | Raise-DR 33KV 3x400sqmm UG Cb on support | Earth work | Raise-DR 33KV 3x400sqmm UG Cb on support | As per relevent standard specification | 323.85 | M | 10363.2
8 | ERECTION OF LINES : UG Cables Jointing : Outdoor / Indoor end termination33 KV 3 x 400 Sqmm XLPE Cable | Electrical Work | OD/Idoor end termination 33kv 3x400 xlpe | As per relevent standard specification | 2764.76 | EA | 22118.08
30 | S-Earthing GI flat 25x3 mm incl material | Electrical Work | S-Earthing GI flat 25x3 mm incl material | As per relevent standard specification | 105 | KG | 3150
50 | Run-GI Earth Flat 25x3mm from metallic p | Electrical Work | Run-GI Earth Flat 25x3mm from metallic p | As per relevent standard specification | 14.03 | M | 701.5
4 | Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels, including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site. | Electrical Work | Fabrication of struc.with welding. | As per relevent standard specification | 3426 | TO | 13704
3 | Erect-24V Batery with Chrgr incl grot-SS | Electrical Work | Erect-24V Batery with Chrgr incl grot-SS | As per relevent standard specification | 1050 | EA | 3150
2 | ERECTION OF EQUIPMENT Substations Erection of 33 KV AB Switch including alignment and earthing | Civil Work | Erection of 33kv ABSwitch incl earthing | As per relevent standard specification | 4500 | EA | 9000
8 | Exca Hard pit w/o blast 0.76X0.76X1.83M | Electrical Work | Exca Hard pit w/o blast 0.76X0.76X1.83M | As per relevent standard specification | 928 | EA | 7424
8 | Erec of 9.1 Mts PSCC poles for stuts | Electrical Work | Erec of 9.1 Mts PSCC poles for stuts | As per relevent standard specification | 2400 | EA | 19200
4 | Errection of 11 M long PSCC pole | Electrical Work | Errection of 11 M long PSCC pole | As per relevent standard specification | 4165.28 | EA | 16661.12
4 | SubTrnsprt 11M PSCC Pole incl. L&UL<10KM | Electrical Work | SubTrnsprt 11M PSCC Pole incl. L&UL<10KM | As per relevent standard specification | 431.97 | EA | 1727.88
8 | Sub Transportation of 9.1 Mts PSCC Poles to location from road side. | Electrical Work | SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | As per relevent standard specification | 407.29 | EA | 3258.32
83.33 | Fabrication and connecting to risers from earth mat to structures, equipment, marshalling boxes, electrical panels, PLCC panels, fencing posts etc.,.M.S./ G.S. Flat 50x6mm / 50 x 8 mm ( Above ground) | Earth work | Earthing for raisers of SS Flat 50x6 mm. | As per relevent standard specification | 41 | RMT | 3416.53
4 | ERECTION OF LINES : Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, sand & brick masonry on four sides of the earth pit and plastering to brick masonry work, running of earth wire etc., complete, exclud | Electrical Work | ERECT. OF LINES-Providing of earthing | As per relevent standard specification | 1234.2 | EA | 4936.8
4 | S-CI Pipe earthing 100mm dia 2.75m long | Electrical Work | S-CI Pipe earthing 100mm dia 2.75m long | As per relevent standard specification | 3486 | EA | 13944
2 | Erect-33KV DP Structure with 11M Poles | Electrical Work | Erect-33KV DP Structure with 11M Poles | As per relevent standard specification | 6204 | SET | 12408
8.82 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand and curing etc. Including the cost of cement | Civil Work | Mass concreting of supports incl. cement | As per relevent standard specification | 6579 | M3 | 58026.78
25 | S-GI Bolts & Nuts,Washers etc., | Electrical Work | S-GI Bolts & Nuts,Washers etc., | As per relevent standard specification | 117.5 | KG | 2937.5
4 | Ex of Hard pit w/o blast 0.75X0.9X1.95M | Earth work | Ex of Hard pit w/o blast 0.75X0.9X1.95M | As per relevent standard specification | 883.58 | EA | 3534.32
0.7 | Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels, including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site. | Electrical Work | Fabrication of struc.with welding. | As per relevent standard specification | 3426 | TO | 2398.2
4 | ERECTION OF LINES : Providing of RCC collar to existing earth pit.Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M he | Electrical Work | ERECT. OF LINES-Providing of RCC collar | As per relevent standard specification | 386 | EA | 1544
2 | Formation of Horizontal Cut point for 33 KV line excluding pole erection and stays including bolts & nuts etc., | Electrical Work | Horizontal Cut point for 33 KV line | As per relevent standard specification | 1759.5 | EA | 3519
10 | Exc of Hard pit w/o blast 0.92X0.92X2.3M | Civil Work | Exc of Hard pit w/o blast 0.92X0.92X2.3M | As per relevent standard specification | 1466.25 | EA | 14662.5
128 | EXCAVATION OF PIT(3.0" x 3.0" x 7.6") | Civil Work | EXCAVATION OF PIT(3.0" x 3.0" x 7.6") | As per relevent standard specification | 842.78 | EA | 107875.84
6.8 | ERECTION OF LINES : Paving out conductor, providing temporary stays, tensioning, sagging correctly, fixing strain points, transferring to pin points binding, rectification of poles, guys and jumpering etc., including transport of material from road side | Electrical Work | Stringing 100sqmm 33/11kv Line 3 Cond SC | As per relevent standard specification | 12600.06 | KM | 85680.408
34 | Formation of Horizontal Cut point for 33 KV line excluding pole erection and stays including bolts & nuts etc., | Electrical Work | Horizontal Cut point for 33 KV line | As per relevent standard specification | 1759.5 | EA | 59823
200 | S-GI Bolts & Nuts,Washers etc., | Civil Work | S-GI Bolts & Nuts,Washers etc., | As per relevent standard specification | 117.5 | KG | 23500
68 | Fix-Side/Cross Arm incl strut fr 33KV | Electrical Work | Fix-Side/Cross Arm incl strut fr 33KV | As per relevent standard specification | 486 | EA | 33048
200 | FABRICATION Cutting Charges for MS Sections per cutMS Channel 100 x 50 mm | Electrical Work | Cutting Charges for MS chanl 100x50mm | As per relevent standard specification | 10 | EA | 2000
200 | FABRICATION Cutting Charges for MS Sections per cut MS Angle of all sizes | Electrical Work | Cutting Charges for MS angle all sizes | As per relevent standard specification | 7 | EA | 1400
138 | ERECTION OF LINES : Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location ex | Electrical Work | Erection of Spun pole 12.5Mt | As per relevent standard specification | 4115.7 | EA | 567966.6
138 | SubTrnsprt any Spun Pole incl. L&UL<10KM | Electrical Work | SubTrnsprt any Spun Pole incl. L&UL<10KM | As per relevent standard specification | 771.38 | EA | 106450.44
7 | Detailed survey of line and cable including peg marking and necessary tree clearance | Electrical Work | survey line&cabl inc peg mark&tree clear | As per relevent standard specification | 765 | KM | 5355
136.1 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand and curing etc. Including the cost of cement | Civil Work | Mass concreting of supports incl. cement | As per relevent standard specification | 6579 | M3 | 895401.9
7 | LOADING & UNLOADING Conductor drums | Earth work | LOADING of Conductor drums | As per relevent standard specification | 202 | EA | 1414
7 | UNLOADING of Conductor drums | Electrical Work | UNLOADING of Conductor drums | As per relevent standard specification | 100 | EA | 700
4 | Transport of Cond Drum,VCBs upto 10Km | Civil Work | Transport of Cond Drum,VCBs upto 10Km | As per relevent standard specification | 2720.34 | EA | 10881.36
8.444 | TRANSPORT Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries.Above 30 KM and upto 50 KM | Electrical Work | TRANSPORT OF STEEL MATERIAL 30 TO 50KM | As per relevent standard specification | 617.1 | TO | 5210.7924
40 | LOADING & UNLOADING 33 KV Pin insulators | Electrical Work | LOADING of 33 KV Pin insulators | As per relevent standard specification | 3 | CRT | 120
40 | UNLOADING of 33 KV Pin insulators | Civil Work | UNLOADING of 33 KV Pin insulators | As per relevent standard specification | 3 | CRT | 120
20 | LOADING of 33 & 11 KV Disc insulators | Civil Work | LOADING of 33 & 11 KV Disc insulators | As per relevent standard specification | 2 | CRT | 40
20 | UNLOADING of 33 & 11 KV Disc insulators | Electrical Work | UNLOADING of 33 & 11 KV Disc insulator | As per relevent standard specification | 2 | CRT | 40
10 | LOADING of 33KV Metal parts-bag of 25no | Electrical Work | LOADING of 33KV Metal parts-bag of 25no | As per relevent standard specification | 65 | BAG | 650
10 | UNLOADING of 33 KV Metal parts-bagof 25 | Electrical Work | UNLOADING of 33 KV Metal parts-bagof 25 | As per relevent standard specification | 65 | BAG | 650
68 | Erec of 9.1 Mts PSCC poles for stuts | Electrical Work | Erec of 9.1 Mts PSCC poles for stuts | As per relevent standard specification | 2400 | EA | 163200
68 | Sub Transportation of 9.1 Mts PSCC Poles to location from road side. | Electrical Work | SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | As per relevent standard specification | 407.29 | EA | 27695.72
68 | CIVIL WORKS :Excavation of pits in all soils except hard rock requiring blasting. 0.6 M x 0.9 M x 1.5 M | Civil Work | EXCAVATION OF PIT 0.6 M x 0.9 M x 1.5 M | As per relevent standard specification | 600 | EA | 40800
3 | S-CI Pipe earthing 80mm dia 2.75m long | Electrical Work | S-CI Pipe earthing 80mm dia 2.75m long | As per relevent standard specification | 2789 | EA | 8367
60 | S-Earthing GI flat 25x3 mm incl material | Electrical Work | S-Earthing GI flat 25x3 mm incl material | As per relevent standard specification | 105 | KG | 6300
1 | ERECTION OF EQUIPMENT Substations Erection of 33 KV AB Switch including alignment and earthing | Electrical Work | Erection of 33kv ABSwitch incl earthing | As per relevent standard specification | 4500 | EA | 4500
220 | Lay-DR 33KV 3x400sqmm UG Cb HG/BC/CC/BT | Civil Work | Lay-DR 33KV 3x400sqmm UG Cb HG/BC/CC/BT | As per relevent standard specification | 749 | M | 164780
220 | Previously 28.07.2020 - Laying of 2nd cable in excavated trench. | Electrical Work | Lay-2nd Cable in Excavated Trench | As per relevent standard specification | 204.1 | M | 44902
30 | Raise-DR 33KV 3x400sqmm UG Cb on support | Electrical Work | Raise-DR 33KV 3x400sqmm UG Cb on support | As per relevent standard specification | 323.85 | M | 9715.5
4 | ERECTION OF LINES : UG Cables Jointing : Outdoor / Indoor end termination33 KV 3 x 400 Sqmm XLPE Cable | Electrical Work | OD/Idoor end termination 33kv 3x400 xlpe | As per relevent standard specification | 2764.76 | EA | 11059.04
2 | CIVIL WORKS :Excavation of pits in all soils except hard rock requiring blasting. 0.75 M x 0.9 M x 1.95 M | Electrical Work | EXCAV. OF PIT 0.75 M x 0.9 M x 1.95 M | As per relevent standard specification | 720 | EA | 1440
2 | ERECTION OF LINES : Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location ex | Civil Work | Erection of RS Joist 175 x 85 mm | As per relevent standard specification | 1800 | EA | 3600
3 | ERECTION OF LINES : Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, sand & brick masonry on four sides of the earth pit and plastering to brick masonry work, running of earth wire etc., complete, exclud | Electrical Work | ERECT. OF LINES-Providing of earthing | As per relevent standard specification | 1234.2 | EA | 3702.6
3 | ERECTION OF LINES : Providing of RCC collar to existing earth pit.Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M he | Electrical Work | ERECT. OF LINES-Providing of RCC collar | As per relevent standard specification | 386 | EA | 1158
100 | Run-GI Earth Flat 25x3mm from metallic p | Electrical Work | Run-GI Earth Flat 25x3mm from metallic p | As per relevent standard specification | 14.03 | M | 1403