## Sheet1
Schedule (WBS No:Y-2025-90-01-11-02-016)
Name of the work : Shifting of 33KV,11KV, LT lines and DTR's which are obstructing for road widening by The Executive Engineer/ HMDA/Sangareddy from the location of IB building to Basaweshwara chowk , By Pass road, Mumbai Highway in Sangareddy Town-II Section of Sangareddy Sub-Division in Sangareddy Division of Sangareddy Circle under Contribution Works .
S.NO | SSR CODES | Estimate Quantity (Only figures) | Item Detailed Specification Description | Work Type eg., Earth Work, Electrical works..etc., (Upto 200 Characters) | Item short Description | APSS/Morth CI.Number (Upto 200 characters) | Rate INR upto 2 Decimals | UOM (upto 50 Characters) | Amount INR (Upto 2 Decimals)
1 | SWR10343 | 111 | Erection of 9.1Mtr pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation. The contractor has to supply GI Bolts and Nuts. | Electrical work | ERECTION OF LINES-Erection of 9.1M Pole | As per relevent standard specification | 2400 | EA | 266400
2 | SWR10113 | 54 | Excavation of Pole pits of size 0.75x0.9x1.95 Mts' for 11 mts PSCC Poles including dewatering, shoring, shuttering wherever necessary and back filling the pit (after erection and concreting of poles whever is necessary) with the excavated earth/extra earth/excavated rock bits if any and leveling the site without any lead. Pole to pole span shall be maintained as 60Mts.In all soils with Hard gravel Hard Murram, Disintegrated Rock, Hard rock not requiring blasting. | Earth work | EXCAV OF PIT HARD 0.75 Mx0.9 Mx1.95 M | As per relevent standard specification | 1217.63 | EA | 65752.02
3 | SWR10978 | 54 | Erection of 11 Mtr pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation. The contractor has to supply GI Bolts and Nuts. | Electrical work | Errection of 11 M long PSCC pole | As per relevent standard specification | 4165.28 | EA | 224925.12
4 | SWR20308 | 111 | Sub Transportation of 9.1 M PSCC Pole including Loading and Unloading<10KM. | Electrical work | SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | As per relevent standard specification | 407.29 | EA | 45209.19
5 | SWR10395 | 6 | Erect. of 11kv HG Fuseset incl earthing | Electrical work | Erect. of 11kv HG Fuseset incl earthing | As per relevent standard specification | 740.52 | SET | 4443.12
6 | SWR10393 | 6 | Erection of 11kv ABSwitch incl earthing | Electrical work | Erection of 11kv ABSwitch incl earthing | As per relevent standard specification | 3200 | EA | 19200
7 | SWR10357 | 25 | Erection of Earth Electrode including Providing of earthing with excavation of earth pit (0.6x0.6x2.4Mtrs) duly filling with Bentonite, earth, running of earth wire etc., complete including cost of Bentonite, RCC collar of size 0.6M dia x 0.5M height. Bentonite powder (2bags)of quanity 50kgs per each earth pit shall be provided. | Earth work | ERECT. OF LINES-Providing of earthing | As per relevent standard specification | 1234.2 | EA | 30855
8 | SMR11485 | 145 | Supply of earthing GI Flat 25X3 mm including material | Earth work | S-Earthing GI flat 25x3 mm incl material | As per relevent standard specification | 105 | KG | 15225
9 | SMR11482 | 18 | Supply of C I earth pipe of size 100mm dia, 2.75mtrs long for earth electrode | Electrical work | S-CI Pipe earthing 100mm dia 2.75m long | As per relevent standard specification | 3486 | EA | 62748
10 | SWR21844 | 6 | Construction of plinth for mounting distribution transformers with RCC Column type DTR Plinth of size 1'X1'X13',topslab 5'x9'x9" & beam size 5'X9'X9" | Civil work | Column type DTR Plinth topslab 5'x5'x6" | As per relevent standard specification | 25092 | EA | 150552
11 | SWR10393 | 1 | Erection of 11kv ABSwitch incl earthing | Electrical work | Erection of 11kv ABSwitch incl earthing | As per relevent standard specification | 3200 | EA | 3200
12 | SWR20075 | 6 | Dismantle of LT distribution box | Electrical work | Dismantling of LT Distribution box | As per relevent standard specification | 382.5 | EA | 2295
13 | SWR10674 | 6 | Erection of LT distribution box including laying of LT cable from distribution box to LT OH line and DTR to distribution box including earthing of distribution box and crimping of lugs connecting of jumpers etc | Electrical work | Erection of LT distribution box | As per relevent standard specification | 1594.67 | EA | 9568.02
14 | SWR22065 | 2.99 | Dismantling of 11KV 34/55 sqmm SC | Electrical work | Dismantling of 11kV 34/ 55 Sqmm SC | As per relevent standard specification | 4500 | KM | 13455
15 | SWR22063 | 1.04 | Dismantling of 100 Sqmm AAA/ACSR Conductor | Electrical work | Dismantling of 100 Sqmm conductor SC | As per relevent standard specification | 8274.75 | KM | 8605.74
16 | SWR11180 | 54 | Sub Transportation of 11.0M PSCC Pole including Loading and Unloading<10KM | Electrical work | SubTrnsprt 11M PSCC Pole incl. L&UL<10KM | As per relevent standard specification | 431.97 | EA | 23326.38
17 | SWR10356 | 51.6 | Concreting the location after erection of 11.0 mt pole with CC (1:4:8) using 40 mm,HBG metal including the cost of all materials and curing , Dewatering the pits before after concreting (River sand, Metal, Cement, water shall be procured by the contractor) for cut points location / PSCC pole.Using form boxes (0.75X0.75X2 Mts)* 48 = 54 Cu.Mt | Civil work | Mass concreting of supports incl. cement | As per relevent standard specification | 6579 | M3 | 339476.4
18 | SWR10112 | 111 | Excavation of Pole pits of size 0.76x0.76x1.52 Mts' for 8 mts PSCC Poles including dewatering, shoring, shuttering wherever necessary and back filling the pit (after erection and concreting of poles whever is necessary) with the excavated earth/extra earth/excavated rock bits if any and leveling the site without any lead. Pole to pole span shall be maintained as 60Mts.In all soils except Hard gravel Hard Murram, Disintegrated Rock, Hard rock Requiring blasting. | earth work | EXCAV. OF PIT HARD(2.6" x 2.6" x 6.0") | As per relevent standard specification | 1680 | EA | 186480
19 | SWR11319 | 51 | Dismantling of 8Mts long PSCC Damaged Poles, not required and available in the middle of roads, transporting to stock point etc. | Electrical work | Dismantle-8.0 m long PSCC pole | As per relevent standard specification | 501.53 | EA | 25578.03
20 | SWR12162 | 1.2 | Dismantling of 34/ 55 sqmm (2wire) | Electrical work | Dismantle- Cd 34/55Sqmm (2-Wire) | As per relevent standard specification | 2000 | KM | 2400
21 | SWR11320 | 53 | Dismantling of 9.1Mts long PSCC Damaged Poles, not required and available in the middle of roads, transporting to stock point etc. | Electrical work | Dismantle-9.1 M long PSCC pole | As per relevent standard specification | 909.94 | EA | 48226.82
22 | SWR11321 | 44 | Dismantling of 11Mts long PSCC Damaged Poles, not required and available in the middle of roads, transporting to stock point etc. | Electrical work | Dismantle-11 Mtrs PSCC poles | As per relevent standard specification | 1813.15 | EA | 79778.6
23 | SWR11122 | 2 | Dismantling of M type tower, not required and available in the middle of roads, transporting to stock point etc. | Electrical work | Dismantling of M type tower | As per relevent standard specification | 3484 | EA | 6968
24 | SWR12480 | 2 | Dismantling of extension of M+3 type tower, not required and available in the middle of roads, transporting to stock point etc. | Electrical work | Dimantle-Extension of M+3 Tower | As per relevent standard specification | 2584.48 | EA | 5168.96
25 | SWR20050 | 1 | Dismantlingof 11 KVAB Switch 400/200 A con | Electrical work | Dismantling AB Switch | As per relevent standard specification | 1500 | EA | 1500
26 | SWR10365 | 2.2 | Paving of the conductor 55 Sqmm Single Circuit (3 Conductors) AAAC and stringing duly arranging temporary guys,tensioning, sagging of conductor maintaing the ground clearences as per IE rules1956, pinbinding, strain insulator binding and giving jumpers Etc.Stiffner pieces shall be be provided for all pin insulator locations. | Electrical work | Stringing of 55sqmm 33/11kv Line 3 Cond | As per relevent standard specification | 8500 | KM | 18700
27 | SWR10705 | 1.2 | Paving of the conductor 55 Sqmm Single Circuit (5 Conductors) AAAC and stringing duly arranging temporary guys,tensioning, sagging of conductor maintaing the ground clearences as per IE rules1956, pinbinding, strain insulator binding and giving jumpers Etc.Stiffner pieces shall be be provided for all pin insulator locations. | Electrical work | Stringing of LT 3ph line 5 condu(55sqmm) | As per relevent standard specification | 9264.66 | KM | 11117.592
28 | SWR10366 | 1 | Paving of the 100 sqmm AAA conductor and stringing duly arranging temporary guys, tensioning, sagging of conductor maintaing the ground clearences as per IE rules1956, pin binding, strain insulator binding and giving jumpers Etc.Stiffner pieces shall be be provided for all pin insulator locations. | Earth work | Stringing 100sqmm 33/11kv Line 3 Cond SC | As per relevent standard specification | 12600.06 | KM | 12600.06
29 | SWR12172 | 6 | Dismantling of 11kv TT type AB switch | Electrical work | Dismantle-11KV AB Switch TT Type | As per relevent standard specification | 889.73 | EA | 5338.38
30 | SWR11745 | 6 | Dismantling of 11 KV HG fuse set including earthing | Electrical work | Dimantle-11KV HG Fuse Set incl earthing | As per relevent standard specification | 353.43 | SET | 2120.58
31 | SWR20070 | 6 | Dismantling of DTR plinth (Column type) | Electrical work | Dismantling of DTR plinth | As per relevent standard specification | 2008.13 | EA | 12048.78
32 | SWR20905 | 6 | Erection of 3ph DTR's including loading and Unloading DTR on the Structure/Plinth et | Electrical work | E/r 3ph DTR inclu L&Un-L,T&C on plinth | As per relevent standard specification | 1650 | EA | 9900
33 | SWR11729 | 6 | Dismantle of 3Ph DTR ( Upto 160 KVA) | Electrical work | Dismantle-3Ph DTR upto 160KVA | As per relevent standard specification | 975.12 | EA | 5850.72
34 | SWR10359 | 7 | Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | Earth work | ERECT. OF LINES-Providing of RCC collar | As per relevent standard specification | 386 | EA | 2702
35 | SWR10881 | 6 | Paintingofoperatingrodsof33kV,11kVABswitcheswithpostofficered colour (including cost of paint | Electrical work | Painting AB switch OP rods with PO red | As per relevent standard specification | 142 | EA | 852
36 | SWR12331 | 6 | Making of coil earthing pole with 8mm GI wireNut&Bolts for AB Switch | Electrical work | AB Switch Coil Earthing GI No. 8 Wire | As per relevent standard specification | 146.63 | EA | 879.78
37 | SMR11480 | 3 | Supply of GI eath pipe with 40 mm dia,3mm thcikness with 2.0 M Lengt | Electrical work | S-GI pipe earthing 40mm dia 2m long | As per relevent standard specification | 698 | EA | 2094
38 | SWR10228 | 120 | LOADING of 11 KV V - Cross arms | Electrical work | LOADING of 11 KV V - Cross arms | As per relevent standard specification | 4 | EA | 480
39 | SWR10546 | 120 | UNLOADING of 11 KV V - Cross arms | Electrical work | UNLOADING of 11 KV V - Cross arms | As per relevent standard specification | 4 | EA | 480
40 | SWR10227 | 26 | LOADING of 33 KV V - Cross arms | Electrical work | LOADING of 33 KV V - Cross arms | As per relevent standard specification | 6 | EA | 156
41 | SWR10545 | 26 | UNLOADING of 33 KV V - Cross arms | Electrical work | UNLOADING of 33 KV V - Cross arms | As per relevent standard specification | 6 | EA | 156
42 | SWR10230 | 53 | LOADING of LT Three phase cross arms | Electrical work | LOADING of LT Three phase cross arms | As per relevent standard specification | 3 | EA | 159
43 | SWR10548 | 53 | UNLOADING of LT Three phase cross arms | Electrical work | UNLOADING of LT Three phase cross arms | As per relevent standard specification | 3 | EA | 159
44 | SWR10191 | 5 | Loading of Conductor drums | Electrical work | LOADING of Conductor drums | As per relevent standard specification | 202 | EA | 1010
45 | SWR10509 | 5 | Unloading of Conductor drums | Electrical work | UNLOADING of Conductor drums | As per relevent standard specification | 100 | EA | 500
46 | SWR11248 | 300 | Load-11KV Polymer Pin Insulator-GI pin | Electrical work | Load-11KV Polymer Pin Insulator-GI pin | As per relevent standard specification | 1 | EA | 300
47 | SWR11249 | 300 | Unload-11KV Polymer Pin Insulator-GI pin | Electrical work | Unload-11KV Polymer Pin Insulator-GI pin | As per relevent standard specification | 1 | EA | 300
48 | SWR10214 | 6 | LOADING of LT Pin insulators | Electrical work | LOADING of LT Pin insulators | As per relevent standard specification | 26 | BAG | 156
49 | SWR10532 | 6 | UNLOADING of LT Pin insulators | Electrical work | UNLOADING of LT Pin insulators | As per relevent standard specification | 18 | BAG | 108
50 | SWR12420 | 3 | UNLOADING of LTPins | Electrical work | UNLOADING of LTPins | As per relevent standard specification | 38 | BAG | 114
51 | SWR12400 | 3 | LOADING of LTPins | Electrical work | LOADING of LTPins | As per relevent standard specification | 54 | BAG | 162
52 | SWR10215 | 1 | LOADING of LT Shackle insulators | Electrical work | LOADING of LT Shackle insulators | As per relevent standard specification | 26 | BAG | 26
53 | SWR10533 | 1 | UNLOADING of LT Shackle insulators | Electrical work | UNLOADING of LT Shackle insulators | As per relevent standard specification | 21 | BAG | 21
54 | SWR10619 | 1 | LOADING of LT Metal parts-Bag of 100nos | Electrical work | LOADING of LT Metal parts-Bag of 100nos | As per relevent standard specification | 52 | BAG | 52
55 | SWR10633 | 1 | UNLOADING of LT Metal parts - bag of 100 | Electrical work | UNLOADING of LT Metal parts - bag of 100 | As per relevent standard specification | 35 | BAG | 35
56 | SWR10212 | 6 | LOADING of 11kv Pin/Post/Solid Core Insu | Electrical work | LOADING of 11kv Pin/Post/Solid Core Insu | As per relevent standard specification | 1 | KI | 6
57 | SWR10530 | 6 | UNLOADING of 11kv Pin/Post/Solid Core In | Electrical work | UNLOADING of 11kv Pin/Post/Solid Core In | As per relevent standard specification | 1 | KI | 6
58 | SWR12402 | 2 | LOADING of 11 KV Metal parts | Electrical work | LOADING of 11 KV Metal parts | As per relevent standard specification | 48 | BAG | 96
59 | SWR12421 | 2 | UNLOADING of 11 KV Metal parts Bag | Electrical work | UNLOADING of 11 KV Metal parts Bag | As per relevent standard specification | 48 | BAG | 96
60 | SWR10211 | 16 | Loading of 33 KV Pin insulators | Electrical work | LOADING of 33 KV Pin insulators | As per relevent standard specification | 3 | KI | 48
61 | SWR10529 | 16 | Unloading of 33 KV Pin insulators | Electrical work | UNLOADING of 33 KV Pin insulators | As per relevent standard specification | 3 | KI | 48
62 | SWR10217 | 1 | LOADING of 33 KV Pins | Electrical work | LOADING of 33 KV Pins | As per relevent standard specification | 109 | BAG | 109
63 | SWR10535 | 1 | UNLOADING of 33 KV Pins | Electrical work | UNLOADING of 33 KV Pins | As per relevent standard specification | 99 | LS | 99
64 | SWR12416 | 15 | Loading of 33 KV and 11 KV Disc insulators. | Electrical work | LOADING of 33 & 11 KV Disc insulators | As per relevent standard specification | 2 | KI | 30
65 | SWR10631 | 15 | Unloading of 33 KV and 11 KV Disc insulators. | Electrical work | UNLOADING of 33 & 11 KV Disc insulator | As per relevent standard specification | 2 | KI | 30
66 | SWR10618 | 2 | Loading of 33KV Metal parts bag of 25 nos. | Electrical work | LOADING of 33KV Metal parts-bag of 25no | As per relevent standard specification | 65 | BAG | 130
67 | SWR10632 | 2 | Unloading of 33 KV Metal parts bag of 25 nos. | Electrical work | UNLOADING of 33 KV Metal parts-bagof 25 | As per relevent standard specification | 65 | BAG | 130
68 | SWR12406 | 6 | LOADING of 11 KV AB SWCH T.T.200/400 A | Electrical work | LOADING of 11 KV AB SWCH T.T.200/400 A | As per relevent standard specification | 80 | EA | 480
69 | SWR12425 | 6 | UNLOADING of 11 KV AB SWCH T.T.200/400 A | Electrical work | UNLOADING of 11 KV AB SWCH T.T.200/400 A | As per relevent standard specification | 80 | EA | 480
70 | SWR10231 | 6 | LOADING of 11 KV HG Fuse Sets | Electrical work | LOADING of 11 KV HG Fuse Sets | As per relevent standard specification | 18 | EA | 108
71 | SWR10549 | 6 | UNLOADING of 11 KV HG Fuse Sets | Electrical work | UNLOADING of 11 KV HG Fuse Sets | As per relevent standard specification | 18 | EA | 108
72 | SWR11132 | 6 | Load-LT Distribution Box | Electrical work | Load-LT Distribution Box | As per relevent standard specification | 18 | EA | 108
73 | SWR11133 | 6 | UnLoad-LT Distribution Box | Electrical work | UnLoad-LT Distribution Box | As per relevent standard specification | 18 | EA | 108
74 | SWR10258 | 2.998 | LOADING of MS Scrap | Electrical work | LOADING of MS Scrap | As per relevent standard specification | 578 | TO | 1732.844
75 | SWR10576 | 2.998 | UNLOADING of MS Scrap | Electrical work | UNLOADING of MS Scrap | As per relevent standard specification | 578 | TO | 1732.844
76 | SWR10257 | 1.642 | LOADING of ACSR conductor scrap | Electrical work | LOADING of ACSR conductor scrap | As per relevent standard specification | 491 | TO | 806.222
77 | SWR10575 | 1.642 | UNLOADING of ACSR conductor scrap | Electrical work | UNLOADING of ACSR conductor scrap | As per relevent standard specification | 491 | TO | 806.222
78 | SWR11862 | 4 | Transport of Cond Drum,VCBs >20 & <30Km | Electrical work | Transport of Cond Drum,VCBs >20 & <30Km | As per relevent standard specification | 3691.38 | EA | 14765.52
79 | SWR10981 | 2 | Formation of 33 kv cut points (Vertical/Horizantal) including fixing of Clamps and top cleat and fixing of pin insulator complete with necessary hard wear for stud locations excluding the cost of pit Excavation and the pole shall be numbered with colour paint and earthing. | Electrical work | Horizontal Cut point for 33 KV line | As per relevent standard specification | 1759.5 | EA | 3519
80 | SWR10653 | 4 | Formation of 11 kv cut points (Vertical/Horizantal) including fixing of 11 KV Cross arms,clamps, strain insulators sets complete with hardware and stays (Bows and Eye-bolts), Excluding the cost of pit Excavation and pole erection. The contractor has to supply GI Bolts and Nuts. | Electrical work | Formatn of Horiz Cut point for 11KV line | As per relevent standard specification | 1350 | EA | 5400
81 | SWR21897 | 3 | Formation of LT cut points (Vertical/Horizantal) including fixing of Clamps and top cleat and fixing of pin insulator complete with necessary hard wear for stud locations excluding the cost of pit Excavation and the pole shall be numbered with colour paint and earthing. | Electrical work | Formation of LTCut point(Ver/ Hor)-1 ckt | As per relevent standard specification | 853 | EA | 2559
82 | SMR11488 | 100 | Supply of GI Bolts,Nuts and Washers etc. | Electrical work | S-GI Bolts & Nuts,Washers etc., | As per relevent standard specification | 117.5 | KG | 11750
83 | SWR12125 | 174 | Running of GI eartn flat of size 25X3mm from all metallic parts of channels, AB Switch, HG fuse set, DTr neutral and LT Distribution box and inter connection of earth pits etc complete | Electrical work | Run-GI Earth Flat 25x3mm from metallic p | As per relevent standard specification | 14.03 | M | 2441.22
84 | SWR10238 | 1 | LOADING of 11 KV AB SWCH Con 200/400 A | Electrical work | LOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 80 | EA | 80
85 | SWR10556 | 1 | UNLOADING of 11 KV AB SWCH Con 200/400 A | Electrical work | UNLOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 80 | EA | 80
Total Amount Excl 18% GST | [8 empty] | 1777807.164
18 % GST | [8 empty] | 320005.2895
Total Amount Incl 18% GST | [8 empty] | 2097812.4535