## 2nd Copy
E- Procurement Schedule
Name of the work:- Bifurcation of existing 11KV RKH Colony feeder emanating from 33/11KV Vayupuri SS by erecting 1.9 KM new 11KV line Double Run UG Cable) along with bay extension and erection of 1No. 11KV feeder VCB at 33/11KV Vayupyuri SS in Neredmet Section of AS Rao Nagar Sub-Division of Sainikpuri Division in Habsiguda Circle under T&D Improvements to original works under Summer Action plan-2025-2026 T-2532-14-03-12-02-001
Sl.No | Estimate Quantity (Only figures) | SAP Code | Item Detailed Specification Description | Work Type eg.Earth Work, Electrical works..etc., (Upto 200 Characters) | Item short Description | APSS/Morth CI.Number (Upto 200 characters) | Rate INR upto 2 Decimals | UOM (upto 50 Characters) | Amount INR (Upto 2 Decimals)
33KV Line:
1 | 0.72 | SWR10133 | Transport of iron materials such as R.S. Joists, Rail Poles, fabricated supports, steel, iron, flat, M.S. Channels etc., by lorries. (excluding of loading & unloading ) | Electrical work | TRANSPORT OF STEEL 20 TO 30KM | As per relevent standard specification | 476.34 | TO | 342.9648
2 | 0.72 | SMR40009 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. | Electrical work | Sup Material for 1st coat Al. Painting. | As per relevent standard specification | 2181 | EA | 1570.32
3 | 0.72 | SWR10877 | Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | Electrical work | Labour for 1st coat Al. Painting. | As per relevent standard specification | 851 | KG | 612.72
4 | 4 | SWR10393 | Erection of 11KV 400/200A Conventional type AB Switch including fixing of cross angles and alignment complete | Electrical work | Erection of 11kv ABSwitch incl earthing | As per relevent standard specification | 3200 | M | 12800
5 | 4 | SWR10881 | Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | Electrical work | Painting AB switch OP rods with PO red | As per relevent standard specification | 142 | M | 568
6 | 4 | SWR12331 | Making of coil earthing pole with 8mm GI wireNut&Bolts for AB Switch | Electrical work | AB Switch Coil Earthing GI No. 8 Wire | As per relevent standard specification | 146.63 | M | 586.52
7 | 130 | SMR11488 | Supply of earthing pipe with materials | Supply of Material | S-GI Bolts & Nuts,Washers etc., | As per relevent standard specification | 117.5 | EA | 15275
8 | 30 | SMR11485 | S-Earthing GI flat 25x3 mm incl material | Supply of Material | S-Earthing GI flat 25x3 mm incl material | As per relevent standard specification | 105 | EA | 3150
9 | 44 | SWR12125 | Running of GI eartn flat of size 25X3mm from all metallic parts of channels, AB Switch, HG fuse set, DTr neutral and LT Distribution box and inter connection of earth pits etc complete | Electrical work | Run-GI Earth Flat 25x3mm from metallic p | As per relevent standard specification | 14.03 | DR | 617.32
10 | 4 | SMR11483 | Supply of CI eath pipe with 80mm dia,2.0 M Length | Supply of Material | S-CI Pipe earthing 80mm dia 2.75m long | As per relevent standard specification | 2789 | DR | 11156
11 | 4 | SWR10357 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.75M dia x 0.5 M height | Electrical work | ERECT. OF LINES-Providing of earthing | As per relevent standard specification | 1234.2 | TO | 4936.8
12 | 4 | SWR10359 | Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | Electrical work | ERECT. OF LINES-Providing of RCC collar | As per relevent standard specification | 386 | TO | 1544
13 | 4 | SWR10238 | Loading of 11KV AB Switch Conventional type | Electrical work | LOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 80 | KG | 320
14 | 4 | SWR10556 | UNLOADING of 11 KV AB SWCH Con 200/400 A | Electrical work | UNLOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 80 | M | 320
15 | 6 | SWR10467 | Formation of Cut point for 11 KV Double circuit line excluding pole erection and stays | Electrical work | Formation of 11kvline vertical cutpoint | As per relevent standard specification | 2241.76 | M | 13450.56
16 | 1860 | SWR11982 | Along the CC / BT multi layer road requiring compressor | Electrical work | Lay-DR 11KV 3x185sqmm UG Cb CC/BT Compsr | As per relevent standard specification | 1264.64 | EA | 2352230.4
17 | 1860 | SWR10988 | Across the CC/ BT road crossing multi layer road requiring compressor (excluding the cost of Hume pipe) Laying of 2nd cable in excavated trench | Electrical work | Lay-2nd Cable in Excavated Trench | As per relevent standard specification | 204.1 | EA | 379626
18 | 40 | SWR12006 | Raising of double run cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe) | Electrical work | Raise-DR 11KV 3x185sqmm UG Cb on support | As per relevent standard specification | 243.53 | EA | 9741.2
19 | 8 | SWR10390 | Making 11 KV 3x185 Sqmm Cable Out Door/Indoor end termination | Electrical work | OD/Idoor end termination 11kv 3x185 xlpe | As per relevent standard specification | 2370.63 | EA | 18965.04
20 | 12 | SWR11230 | Loading of 11KV/33KV XLPE UG Cable for all sizes | Electrical work | Load-11/33KV XLPE UG Cable for all sizes | As per relevent standard specification | 1024 | EA | 12288
21 | 12 | SWR11231 | Un loading of 11KV/33KV XLPE UG Cable for all sizes | Electrical work | Unload-11/33KV XLPE UG Cable all sizes | As per relevent standard specification | 1024 | EA | 12288
22 | 150 | SMR40081 | S-6" B Class GI pipe 5mm thck 20Kg/M | Electrical work | S-6" B Class GI pipe 5mm thck 20Kg/M | As per relevent standard specification | 1344 | EA | 201600
23 | 32 | SWR10320 | Fab Back clamps with 50 x 6 mm MS Flat | Fabrication | Fab Back clamps with 50 x 6 mm MS Flat | As per relevent standard specification | 16 | EA | 512
24 | 8 | SWR11269 | Fix-Side/Cross Arm incl strut fr 11KV | Electrical work | Fix-Side/Cross Arm incl strut fr 11KV | As per relevent standard specification | 455 | EA | 3640
25 | 8 | SWR10296 | Cutting Charges for MS angle all sizes | Fabrication | Cutting Charges for MS angle all sizes | As per relevent standard specification | 7 | EA | 56
26 | 102 | SWR10307 | FABR-Drilling of holes upto 20 mm dia 4 | Fabrication | FABR-Drilling of holes upto 20 mm dia 4 | As per relevent standard specification | 4 | EA | 408
27 | 0.72 | SWR10524 | Un loading of M.S.Channels, Angles, Flats & Rods etc., | Electrical work | UNLOADING of MS Channel,Angles,Flats&Rod | As per relevent standard specification | 185 | EA | 133.2
28 | 0.72 | SWR10206 | Loading of M.S.Channels, Angles, Flats & Rods etc. | Electrical work | LOADING of MS Channel,Angles,Flats&Rods | As per relevent standard specification | 221 | M3 | 159.12
29 | 10 | SWR10221 | Loading of Bolts & Nuts of all sizes | Electrical work | LOADING of Bolts&Nuts all sizes. | As per relevent standard specification | 17 | EA | 170
30 | 10 | SWR10539 | Un loading of Bolts & Nuts of all sizes | Electrical work | UNLOADING of Bolts&Nuts all sizes. | As per relevent standard specification | 17 | EA | 170
31 | 2 | SWR10343 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation | Electrical work | ERECTION OF LINES-Erection of 9.1M Pole | As per relevent standard specification | 2400 | M3 | 4800
32 | 2 | SWR11039 | Excavation of pits in hard rock not requiring blasting. (In hard murram / rock boulders) | Electrical work | Exca Hard pit w/o blast 0.76X0.76X1.83M | As per relevent standard specification | 928 | TO | 1856
33 | 1.08 | SWR10356 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. | Electrical work | Mass concreting of supports incl. cement | As per relevent standard specification | 6579 | EA | 7105.32
34 | 2 | SWR20308 | Sub-transport of poles upto Workspot upto 10KM (Including loading and unloading) | Electrical work | SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | As per relevent standard specification | 407.29 | EA | 814.58
35 | 8 | SWR10385 | Straight through joint 11kv 3x185 xlpe | Electrical work | Straight through joint 11kv 3x185 xlpe | As per relevent standard specification | 3725.45 | SET | 29803.6
36 | 8 | SWR11152 | Un loading of 33/11KV XLPE UG Cable End Termination Kits for all sizes | Electrical work | Un-loading of 11/33 KV IN/OUT door kits | As per relevent standard specification | 4 | SET | 32
37 | 8 | SWR11153 | Un loading of 33/KV XLPE UG CableStraight Through Joint Kits for all sizes | Electrical work | Un-loading 11/33KV Straight thr jointkit | As per relevent standard specification | 4 | EA | 32
38 | 1 | SWR10461 | Erection of 11 KV VCB with Control Panel | Electrical work | Erection of 11kv VCB | As per relevent standard specification | 12000 | M | 12000
39 | 4 | SMR11482 | Supply of CI earth pipe 100 mm dia, 2.75 mt long thickness 10mm with flange as per specication | Electrical work | S-CI Pipe earthing 100mm dia 2.75m long | As per relevent standard specification | 3486 | EA | 13944
40 | 500 | SWR11879 | Laying of 4 core/10 core 2.5 sq. mm.Copper control cable in aready excavation trench including cost of providing single compress glands at both ends | Electrical work | Lay-4C/10C 2.5Sqmm Control Cable | As per relevent standard specification | 27 | EA | 13500
41 | 100 | SMR11488 | S-GI Bolts & Nuts,Washers etc., | Electrical work | S-GI Bolts & Nuts,Washers etc., | As per relevent standard specification | 117.5 | EA | 11750
42 | 1 | SWR10942 | Wirring, commissioning and testing of Outdoor Sub-station switchgear duly conducting the pre commissioning test as per relevent standards & issue of certificate by CEIG authorised testing Engineer | Electrical work | Testing of Outdoor SS switchgear | As per relevent standard specification | 1825 | EA | 1825
43 | 2 | SWR11040 | 11 Mtrs PSCC Poles/ Box poles 0.75 M x 0.9 M x 1.95 M | Civil Work | Ex of Hard pit w/o blast 0.75X0.9X1.95M | As per relevent standard specification | 990.68 | EA | 1981.36
44 | 3 | SWR10238 | Loading of 11KV AB Switch Conventional type | Electrical work | LOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 80 | EA | 240
45 | 15 | SMR40025 | Supply of Alluminum PT clamps conforming to A6 of IS 617, with hot dip galvanised bolts and nuts suitable for single zebra / Panther | Electrical work | Sup PT clamps for single zebra / Panther | As per relevent standard specification | 368 | M | 5520
46 | 1 | SMR40070 | Danger boards with clamps | Supply of Material | Supply of Danger boards with clamps | As per relevent standard specification | 116 | M | 116
47 | 24 | SWR10917 | Labour for Fixing of all types of clamps | Electrical work | Labour for Fixing of all types of clamps | As per relevent standard specification | 65 | M | 1560
48 | 2 | SWR10393 | Erection of 11KV 400/200A Conventional type AB Switch including fixing of cross angles and alignment complete | Electrical work | Erection of 11kv ABSwitch incl earthing | As per relevent standard specification | 3200 | RMT | 6400
49 | 0.5 | SWR11861 | Transport of conductor drums, cable drums, fragile material such as kiosks, VCBs, control panels, current transformers, boosters, lightning arrestors, insulators, transformers, meters (which are less in weight and occupy more space) (excluding of loading unloading) | Electrical work | Transport of Cond Drum,VCBs >10 & <20Km | As per relevent standard specification | 3299.7 | RMT | 1649.85
50 | 1 | SWR10199 | Loading of 11 KV VCBs along with Panel boards | Electrical work | LOADING of 11 KV VCBs&Panel boards | As per relevent standard specification | 1024 | EA | 1024
51 | 1 | SWR10517 | UNLOADING of 11 KV VCBs&Panel boards | Electrical work | UNLOADING of 11 KV VCBs&Panel boards | As per relevent standard specification | 1044.48 | EA | 1044.48
52 | 3 | SWR10556 | UNLOADING of 11 KV AB SWCH Con 200/400 A | Electrical work | UNLOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 80 | EA | 240
53 | 2 | SWR10348 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation | Electrical work | Erection of RS Joist 150 x 150 mm | As per relevent standard specification | 1952.61 | EA | 3905.22
54 | 2 | SWR10205 | Loading of R.S. Joists 150 x 150mm / Rail poles | Electrical work | LOADING of RSJoists150 x 150 mm/RailPole | As per relevent standard specification | 176 | EA | 352
55 | 2 | SWR10523 | UNLOADING of RSJoists150 x150 mm/RailPol | Electrical work | UNLOADING of RSJoists150 x150 mm/RailPol | As per relevent standard specification | 107 | EA | 214
56 | 1.25 | SWR10206 | Loading of M.S.Channels, Angles, Flats & Rods etc., | Electrical work | LOADING of MS Channel,Angles,Flats&Rods | As per relevent standard specification | 221 | KG | 276.25
57 | 1.25 | SWR10524 | UNLOADING of MS Channel,Angles,Flats&Rod | Electrical work | UNLOADING of MS Channel,Angles,Flats&Rod | As per relevent standard specification | 185 | EA | 231.25
58 | 3 | SWR10265 | Un loading of M.S.Channels, Angles, Flats & Rods etc., | Electrical work | LOADING of 11 KV, 10 KA LAs Line type | As per relevent standard specification | 32 | TO | 96
59 | 3 | SWR10583 | Un loading of 11 KV, 10 KA LAs Line type | Electrical work | UNLOADING of 11 KV, 10 KA LAs Line type | As per relevent standard specification | 32 | TO | 96
60 | 500 | SWR11701 | Loading of PVC Control Cable 10 Core | Electrical work | Load-PVC Control Cable 10C | As per relevent standard specification | 1 | TO | 500
61 | 500 | SWR11712 | UnLoad-PVC Control Cable 10C | Electrical work | UnLoad-PVC Control Cable 10C | As per relevent standard specification | 1.02 | TO | 510
62 | 2 | SWR10297 | Cutting Charges for RS joist 150x150mm | Fabrication | Cutting Charges for RS joist 150x150mm | As per relevent standard specification | 48 | EA | 96
63 | 190 | SWR10307 | Drilling of holes upto 20 mm dia using power drills | Fabrication | FABR-Drilling of holes upto 20 mm dia 4 | As per relevent standard specification | 4 | EA | 760
64 | 6 | SWR10359 | Providing of RCC Collar guarding to the existing earth pits with damaged masonry including dismantling and removing of existing masonry and fixing the RCC collar of 0.60 M dia X 0.50 M height | Electrical work | ERECT. OF LINES-Providing of RCC collar | As per relevent standard specification | 386 | TO | 2316
65 | 3.888 | SWR20768 | Earth work excavation of in all soils except hard rock requiring blasting. | Electrical work | Excavate-Pit in Soil except Hrd Rck | As per relevent standard specification | 345 | TO | 1341.36
66 | 0.9 | SWR10869 | Fabrication of Main and Auxiliary structures with welding using raw steel such as RS joist, M.S.Angles, Plates, Channels, including the supply and fabrication of 6mm base plate to the RS-Joist poles excluding cost of Mild Steel and transport charges to substation site, including erection | Fabrication | Fabrication of struc.with welding. | As per relevent standard specification | 3426 | TO | 3083.4
67 | 6 | SMR11915 | Supply of Tension Hardware 3 Bolted for single Zebra/panther with 150 mm spacing | Supply of Material | S-Tension HW 3Bolt 1Zebra/Pnthr 150mm | As per relevent standard specification | 2055 | EA | 12330
68 | 0.124 | SWR11890 | Coping of 1.5'x1.5'x1 with 1:8 slope Using form boxes (0.031Cumt.) | Civil Work | Coping & Muffing-Iron Pole | As per relevent standard specification | 3893 | EA | 482.732
69 | 9 | SMR40011 | Supply of Alluminum alloy T clamps conforming to A6 of IS 617, 4 bolted with hot dip galvanised bolts and double nuts with spring and flat washers of size M10 x 65 i.e(3/8" x 21/2 " to suit for panther ACSR on all three ways /on one side and Zebra ACSR on take off side or any other combination for carrying 800 A current rating . | Supply of Material | Sup T clamp LM6 Al alloy of 12 mm, 800 A | As per relevent standard specification | 299 | EA | 2691
70 | 3 | SMR22473 | Supply of I-Bolts | Supply of Material | Supply of I-Bolts | As per relevent standard specification | 294 | EA | 882
71 | 1.25 | SMR40009 | Painting of sub-station structures with two coats of Aluminium paint using Aluminium paint 1st grade containing 3.6 kg of Aluminium paste for 18 liters of thinner 1st coat is to be applied before erection of sub-station structures and 2nd coat after stringing and half round welding including cost of paint, cost of brushes, labour charges etc., complete. | Supply of Material | Sup Material for 1st coat Al. Painting. | As per relevent standard specification | 2181 | EA | 2726.25
72 | 1.25 | SWR10877 | Labour charges for painting including scratching and cleaning of Sub-station structures of 1st coat of Aluminium | Electrical work | Labour for 1st coat Al. Painting. | As per relevent standard specification | 851 | EA | 1063.75
73 | 1.25 | SMR40010 | (*)Supply of material cost for Second coat of 1st Grade Aluminium Paint, brushes, etc. | Electrical work | Sup Material for 2nd coat Al. Painting. | As per relevent standard specification | 1293 | EA | 1616.25
74 | 1.25 | SWR10879 | (*) Labour charges for painting including scratching and cleaning of Sub-station structures of 2nd coat of Aluminium | Electrical work | Labour for 2nd coat Al. Painting. | As per relevent standard specification | 482 | M | 602.5
75 | 31.91 | SWR10920 | Laying of earth mat including excavation of trenches of depth 600mm, welding, connecting to equipment and connecting lightning shield to earth mat and earthing of fence posts, drilling and connecting earth rods including connecting cast iron pipes with the following sizes of MS Flats /GI Flats. including fabrication. | Electrical work | Laying of earth mat,excavation 75x 8mm | As per relevent standard specification | 65 | KG | 2074.15
76 | 83.33 | SWR10919 | Fabrication and connecting to risers from earth mat to structures, equipment, marshalling boxes, electrical panels, PLCC panels, fencing posts etc. | Electrical work | Earthing for raisers of SS Flat 50x6 mm. | As per relevent standard specification | 41 | M | 3416.53
77 | 100 | SWR12510 | Cable terminations to the switch gear marshalling boxes/panel terminal blocks/control and relay panels LT AC panel including providing suitable ferrules and lugs as per specification (including cost of ferrules, lugs and glands) | Electrical work | L-Cable Termination to Switchgear | As per relevent standard specification | 27 | EA | 2700
78 | 5 | SWR11089 | Ptg of coping with 2cts white cmnt inclu | Civil Work | Ptg of coping with 2cts white cmnt inclu | As per relevent standard specification | 48 | EA | 240
79 | 3 | SWR12331 | Making of coil earthing pole with 8mm GI wireNut&Bolts for AB Switch | Electrical work | AB Switch Coil Earthing GI No. 8 Wire | As per relevent standard specification | 146.63 | EA | 439.89
80 | 3 | SWR10881 | Painting of operating rods of 33kV, 11kV AB switches with post office red colour (including cost of paint) | Electrical work | Painting AB switch OP rods with PO red | As per relevent standard specification | 142 | M3 | 426
81 | 3.75 | SWR10860 | Supply & spreading of 20mm machine crushed metal (HBG) including cost of conveneyance of all materials, labour charges etc complete for finished item of work and directed by the engineer incharge | Supply of Material | Supply & Spreading of 20mm HBG metal | As per relevent standard specification | 2113 | M3 | 7923.75
82 | 6 | SWR10357 | Providing of earthing with excavation of earth pit (0.6 x0.6x2.4 Mts.) duly filling with bentonite, earth , running of earth wire etc., complete, including cost of bentonite and excluding cost of RCC collar of size 0.75M dia x 0.5 M height | Electrical work | ERECT. OF LINES-Providing of earthing | As per relevent standard specification | 1234.2 | M3 | 7405.2
83 | 4 | SWR10390 | Making 11 KV 3x185 Sqmm Cable Out Door/Indoor end termination | Electrical work | OD/Idoor end termination 11kv 3x185 xlpe | As per relevent standard specification | 2370.63 | M3 | 9482.52
84 | 15 | SWR12006 | Raising of double run cable on already erected support with wooden / MS clamps and connecting it to over head line with cable jumpers including cost of required wooden cleats, lugs and bolts and nuts through GI pipe (excluding the cost of GI pipe) | Electrical work | Raise-DR 11KV 3x185sqmm UG Cb on support | As per relevent standard specification | 243.53 | EA | 3652.95
85 | 12 | SMR40080 | S-4" BClass GI pipe 3.65mm thck 12.2Kg/M | Supply of Material | S-4" BClass GI pipe 3.65mm thck 12.2Kg/M | As per relevent standard specification | 800 | M | 9600
86 | 30 | SMR11485 | S-Earthing GI flat 25x3 mm incl material | Supply of Material | S-Earthing GI flat 25x3 mm incl material | As per relevent standard specification | 105 | EA | 3150
87 | 2.5 | SWR10356 | Mass concreting of supports erected with CC (1:4:8) using 40 mm, HB G metal including the cost of metal, sand, Cement and curing etc. | Civil Work | Mass concreting of supports incl. cement | As per relevent standard specification | 6579 | EA | 16447.5
88 | 1 | SWR10732 | Con of Plinth for 11kv VCB 1.8x1.8x0.75m | Civil Work | Con of Plinth for 11kv VCB 1.8x1.8x0.75m | As per relevent standard specification | 27629 | M | 27629
89 | 40 | SWR11990 | Across the CC/ BT road crossing multi layer road requiring compressor (excluding the cost of Hume pipe) | Electrical work | Lay-DR 11KV 3x185sqmm UG Cb CC/BT RdCrsg | As per relevent standard specification | 1449.06 | M | 57962.4
90 | 40 | SWR10988 | Across the CC/ BT road crossing multi layer road requiring compressor (excluding the cost of Hume pipe) | Electrical work | Lay-2nd Cable in Excavated Trench | As per relevent standard specification | 204.1 |  | 8164
91 | 2 | SWR10204 | Loading of R.S. Joists 175 x 85 mm | Electrical work | LOADING of R.S. Joists 175 x 85 mm | As per relevent standard specification | 76 |  | 152
92 | 2 | SWR10522 | UNLOADING of R.S. Joists 175 x 85 mm | Electrical work | UNLOADING of R.S. Joists 175 x 85 mm | As per relevent standard specification | 50 |  | 100
93 | 2 | SWR20863 | Erection of pole in position, aligning and setting to work, fixing of cross arms and top clamps, earthing of supports, back filling with earth and stones properly ramming including transport of materials from road side to location excluding pit excavation | Electrical work | R.S. joist box poles erection complete | As per relevent standard specification | 1044.23 |  | 2088.46
94 | 2 | SWR10105 | 8.0Mtrs PSCC Poles - 0.76 M x 0.76M x 1.52M (2.6" x 2.6" x 5.0') 0.88 cum | Civil Work | EXCAVATION OF PIT (2.6" x 2.6" x 5.0') | As per relevent standard specification | 650 |  | 1300
95 | 1 | SWR10398 | Erection of 11 KV LAS line type including earthing | Electrical work | Erect of 11kvLA line type incl earthing | As per relevent standard specification | 505 |  | 505
96 | 110 | SWR11232 | Loading of 11KV/33 KV XLPE UG cable for all sizes | Electrical work | Load-11/33KV XLPE UG cable all size | As per relevent standard specification | 18 |  | 1980
97 | 110 | SWR11233 | Un loading of 11KV/33 KV XLPE UG cable for all sizes | Electrical work | Unload-11/33KV XLPE UG cable all size | As per relevent standard specification | 18 |  | 1980
98 | 10 | SWR10404 | Stringing of bus with panther conductor including jumpering etc., complete to all the equipment in SS fixing to all clamps and equipment.(3 Conductors) | Electrical work | Stringing of bus with panther conductor | As per relevent standard specification | 327.68 |  | 3276.8
99 | 50 | SWR11220 | Loading of Unwinding of panther conductor from main drum and recoiling | Electrical work | Load-Unwinding Panther conductor | As per relevent standard specification | 3 |  | 150
100 | 2 | SMR11483 | Supply of CI eath pipe with 80mm dia,2.0 M Length | Supply of Material | S-CI Pipe earthing 80mm dia 2.75m long | As per relevent standard specification | 2789 |  | 5578
101 | 3 | SWR10556 | Un loading of 11KV AB Switch Conventional type | Electrical work | UNLOADING of 11 KV AB SWCH Con 200/400 A | As per relevent standard specification | 80 |  | 240
102 | 3.75 | SWR33054 | S&Filling with Borrowed Stone Dust | Supply of Material | S&Filling with Borrowed Stone Dust | As per relevent standard specification | 1451 |  | 5441.25
103 | 4 | SWR11152 | Un loading of 33/11KV XLPE UG Cable End Termination Kits for all sizes | Electrical work | Un-loading of 11/33 KV IN/OUT door kits | As per relevent standard specification | 4 |  | 16
104 | 1 | SWR21277 | Ere 11KV 800A double throw AB Switches | Electrical work | Ere 11KV 800A double throw AB Switches | As per relevent standard specification | 3500 |  | 3500
105 | 1 | SWR10642 | Fabrication of 175x85/150x75mm RS joist pieces upto 12.5 meters length by welding joint together by means of 50x6mm flat and MS channel on either side including the cost of consumable. | Fabrication | Fabricate&Paint-175x85/150x75mm RS Joist | As per relevent standard specification | 512.55 |  | 512.55
106 | 3 | SWR10640 | Painting of R.S Joist,Box poles including cross arms and clamps with one coat of red oxid and two coats of Al.paint including cost of paint and consumables | Electrical work | Painting of RS Joist(1C RO, 2C Al.Paint) | As per relevent standard specification | 1132 |  | 3396
107 | 1 | SWR10397 | Erection of 11 KV LAS station type including earthing | Electrical work | Erect of 11kv LA stn type incl earthing | As per relevent standard specification | 559 |  | 559
Total Service Cost: | [8 empty] | 3404136.2668
GST 18%: | [8 empty] | 612744.528
G. TOTAL: | [8 empty] | 4016880.7948