## TO BE FLOATED IN E PROCUREMEMNT
Schedule
Estimate Quantity (only Figures) | Item Detailed Specification Description | Work Type eg. Earth Work, Electrical works.. etc ( upto 200 Characters) | Item Short Description ( upto 100 Characters) | APSS / Morth Cl. Number ( upto 200 Characters) | Rate (INR) ( Upto 2 Decimals ) | UOM ( upto 50 Characters) | Amount (INR) ( Upto 2 Decimals )
6 | Hire-JCB to Level & Clear the Site | Machinery | Hire-JCB to Level & Clear the Site | As per relevant standard specifiction | 2165.7 | H | 12994.2
53.4 | Excavation in Ordinary Soil | Earth Work | Excavation in Ordinary Soil | As per relevant standard specifiction | 366 | M3 | 19544.4
21 | Filling with already available Earthwork | Earth Work | Filling with already available Earthwork | As per relevant standard specifiction | 42 | M3 | 882
6.4 | PCC with 40mm Metal (1:4:8) | Plain Cement Concrete | PCC with 40mm Metal (1:4:8) | As per relevant standard specifiction | 4746 | M3 | 30374.4
0.9 | PCC with 20mm Metal (1:2:4) | Plain Cement Concrete | PCC with 20mm Metal (1:2:4) | As per relevant standard specifiction | 6158 | M3 | 5542.2
31.8 | CRS Masonary CM(1:6) 2nd Sort | Masonry work | CRS Masonary CM(1:6) 2nd Sort | As per relevant standard specifiction | 5517 | M3 | 175440.6
73.8 | S&Filling with Borrowed Gravel | Earth Work | S&Filling with Borrowed Gravel | As per relevant standard specifiction | 451 | M3 | 33283.8
9.2 | RCC Footing: M20Gr, Steel Centering | RCC | RCC Footing: M20Gr, Steel Centering | As per relevant standard specifiction | 9693 | M3 | 89175.6
4.4 | RCC Column GF: M20Gr, Steel Centering | RCC | RCC Column GF: M20Gr, Steel Centering | As per relevant standard specifiction | 13684 | M3 | 60209.6
4.1 | RCC Plinth Beam: M20Gr, Steel Centering | RCC | RCC Plinth Beam: M20Gr, Steel Centering | As per relevant standard specifiction | 12788 | M3 | 52430.8
5.3 | RCC Roof Beam GF: M20Gr, Steel Centering | RCC | RCC Roof Beam GF: M20Gr, Steel Centering | As per relevant standard specifiction | 12748 | M3 | 67564.4
0.5 | RCC Lintel GF: M20Gr, Steel Centering | RCC | RCC Lintel GF: M20Gr, Steel Centering | As per relevant standard specifiction | 13525 | M3 | 6762.5
8.4 | RCC Sunshade GF: M20Gr, Steel Centering | RCC | RCC Sunshade GF: M20Gr, Steel Centering | As per relevant standard specifiction | 1440 | M2 | 12096
16.4 | RCC Roof Slab GF: M20Gr, Steel Centering | RCC | RCC Roof Slab GF: M20Gr, Steel Centering | As per relevant standard specifiction | 11241 | M3 | 184352.4
33.7 | Brick Masonary in CM(1:6) GFloor | Masonry work | Brick Masonary in CM(1:6) GFloor | As per relevant standard specifiction | 9085 | M3 | 306164.5
12.3 | Brick Masonary in CM(1:6) 1Floor | Masonry work | Brick Masonary in CM(1:6) 1Floor | As per relevant standard specifiction | 9085 | M3 | 111745.5
4.3 | Reinforcement Steel Fe 415/500 | Steel | Reinforcement Steel Fe 415/500 | As per relevant standard specifiction | 78086 | TON | 335769.8
604.9 | Plastering 20mm (16mm+4mm)GFloor | Plastering | Plastering 20mm (16mm+4mm)GFloor | As per relevant standard specifiction | 573 | M2 | 346607.7
30 | Raised Pointing to CRS Masonary CM(1:3) | Plastering | Raised Pointing to CRS Masonary CM(1:3) | As per relevant standard specifiction | 125 | M2 | 3750
16.8 | RCM Drop Wall 40mm CM(1:2) GFloor | Dropwall | RCM Drop Wall 40mm CM(1:2) GFloor | As per relevant standard specifiction | 2891 | M2 | 48568.8
19.8 | RCM Racks w/o Steel & Plastering GFloor | Shelves | RCM Racks w/o Steel & Plastering GFloor | As per relevant standard specifiction | 840 | M2 | 16632
110.4 | Impervious Coat 20mm CM(1:3) GFloor | Plastering | Impervious Coat 20mm CM(1:3) GFloor | As per relevant standard specifiction | 594 | M2 | 65577.6
12 | S&F MT Wood Frame & Door-Laminate | Doors | S&F MT Wood Frame & Door-Laminate | As per relevant standard specifiction | 6871 | M2 | 82452
9 | S&F Powder Coated Al Window | Windows | S&F Powder Coated Al Window | As per relevant standard specifiction | 3572 | M2 | 32148
11 | S&F of MS Safety Grill | Grills | S&F of MS Safety Grill | As per relevant standard specifiction | 3031 | M2 | 33341
28 | Ceramic Tile Flooring 20mm CM(1:3) | Flooring | Ceramic Tile Flooring 20mm CM(1:3) | As per relevant standard specifiction | 937 | M2 | 26236
85.6 | Vitrified Tile Flooring 38mm CM(1:3) | Flooring | Vitrified Tile Flooring 38mm CM(1:3) | As per relevant standard specifiction | 1091 | M2 | 93389.6
6.5 | Vitrified Tile Skirting CM(1:3) | Flooring | Vitrified Tile Skirting CM(1:3) | As per relevant standard specifiction | 1079 | M2 | 7013.5
308.9 | Paint-PlasticEmulsn 2Coats+Primer-Intrnl | Painting | Paint-PlasticEmulsn 2Coats+Primer-Intrnl | As per relevant standard specifiction | 124 | M2 | 38303.6
301.6 | Painting SnowCem/Apex 2 Coats+Primer | Painting | Painting SnowCem/Apex 2 Coats+Primer | As per relevant standard specifiction | 205 | M2 | 61828
50 | S&F Surface PVC Pipe 25mm dia 1.5mm thck | Electrification | S&F Surface PVC Pipe 25mm dia 1.5mm thck | As per relevant standard specifiction | 86 | M | 4300
125 | S&F Conceal PVC Pipe 25mm dia in Wall | Electrification | S&F Conceal PVC Pipe 25mm dia in Wall | As per relevant standard specifiction | 93 | M | 11625
22 | S&F Modular Switch LP,FP,EFP for RBuild | Electrification | S&F Modular Switch LP,FP,EFP for RBuild | As per relevant standard specifiction | 568 | EA | 12496
18 | S&F Modular 3/2pin 6A Sockets | Electrification | S&F Modular 3/2pin 6A Sockets | As per relevant standard specifiction | 493 | EA | 8874
25 | S&R 2 of 14/0.3mm (1.0sqmm) (FR) | Electrification | S&R 2 of 14/0.3mm (1.0sqmm) (FR) | As per relevant standard specifiction | 49 | M | 1225
100 | S&R 2 of 36/0.3mm (2.5sqmm) (FR) | Electrification | S&R 2 of 36/0.3mm (2.5sqmm) (FR) | As per relevant standard specifiction | 100 | M | 10000
1 | S&F 12wySPNDB IP-20,10kA-6-32A SPMCB 4No | Electrification | S&F 12wySPNDB IP-20,10kA-6-32A SPMCB 4No | As per relevant standard specifiction | 6313 | EA | 6313
10 | S&F 1x40W Patty type Tube Light | Electrification | S&F 1x40W Patty type Tube Light | As per relevant standard specifiction | 726 | EA | 7260
6 | S&F Batten Holder | Electrification | S&F Batten Holder | As per relevant standard specifiction | 224 | EA | 1344
4 | S&F 1200mm (48'') Sweep Ceiling Fan | Electrification | S&F 1200mm (48'') Sweep Ceiling Fan | As per relevant standard specifiction | 2225 | EA | 8900
4 | S&F Electronic Regulator for Ceiling Fan | Electrification | S&F Electronic Regulator for Ceiling Fan | As per relevant standard specifiction | 590 | EA | 2360
1 | Provd-Independent Earthing | Electrification | Provd-Independent Earthing | As per relevant standard specifiction | 5169 | EA | 5169
3 | S&F 15.90mm OD CPVC Pipe-SDR 11 | Plumbing | S&F 15.90mm OD CPVC Pipe-SDR 11 | As per relevant standard specifiction | 343 | M | 1029
20 | S&F 22.20mm OD CPVC Pipe-SDR 11 | Plumbing | S&F 22.20mm OD CPVC Pipe-SDR 11 | As per relevant standard specifiction | 417 | M | 8340
50 | S&F 28.60mm OD CPVC Pipe-SDR 11 | Plumbing | S&F 28.60mm OD CPVC Pipe-SDR 11 | As per relevant standard specifiction | 514 | M | 25700
2 | S&F-20mm GM/Bronze Ball Valve | Plumbing | S&F-20mm GM/Bronze Ball Valve | As per relevant standard specifiction | 331 | EA | 662
2 | S&F-25mm GM/Bronze Ball Valve | Plumbing | S&F-25mm GM/Bronze Ball Valve | As per relevant standard specifiction | 466 | EA | 932
15 | S&F 110mm dia 3M 1Socket PVC/SWR Pipe | Plumbing | S&F 110mm dia 3M 1Socket PVC/SWR Pipe | As per relevant standard specifiction | 428 | M | 6420
4 | S&F 110mm dia Plain Bend PVC/SWR Pipe | Plumbing | S&F 110mm dia Plain Bend PVC/SWR Pipe | As per relevant standard specifiction | 100 | EA | 400
4 | S&F 110mm dia Door Bend PVC/SWR Pipe | Plumbing | S&F 110mm dia Door Bend PVC/SWR Pipe | As per relevant standard specifiction | 128 | EA | 512
2 | S&F Floor Trap (Bell Mouth) 110mm | Plumbing | S&F Floor Trap (Bell Mouth) 110mm | As per relevant standard specifiction | 269 | EA | 538
2 | S&F 101.6mm Nahany Trap | Plumbing | S&F 101.6mm Nahany Trap | As per relevant standard specifiction | 134 | EA | 268
3 | Construct-Brick Insptn Chamber 1'6"x1'6" | Sanitary | Construct-Brick Insptn Chamber 1'6"x1'6" | As per relevant standard specifiction | 4610 | EA | 13830
2 | S&F European Water Closet of 1st Quality | Sanitary | S&F European Water Closet of 1st Quality | As per relevant standard specifiction | 2102 | EA | 4204
2 | S&F Indian Make Plastic Seat and Lid | Sanitary | S&F Indian Make Plastic Seat and Lid | As per relevant standard specifiction | 1286 | EA | 2572
2 | S&F PVC Low Level Tank 10L | Sanitary | S&F PVC Low Level Tank 10L | As per relevant standard specifiction | 1740 | EA | 3480
2 | S&F Flat Back Wash Hand Basin | Sanitary | S&F Flat Back Wash Hand Basin | As per relevant standard specifiction | 1544 | EA | 3088
4 | S&F-15mm Angle Stop Valve Qtr turn | Plumbing | S&F-15mm Angle Stop Valve Qtr turn | As per relevant standard specifiction | 676 | EA | 2704
4 | S&F-15mm Bib Tap 400gm Full turn | Plumbing | S&F-15mm Bib Tap 400gm Full turn | As per relevant standard specifiction | 275 | EA | 1100
1000 | S&F Polyethylene Water Storage Tank | Water Tank | S&F Polyethylene Water Storage Tank | As per relevant standard specifiction | 10 | L | 10000
2 | S&F 31.75mm PVC Flexible Waste Pipe 0.9M | Sanitary | S&F 31.75mm PVC Flexible Waste Pipe 0.9M | As per relevant standard specifiction | 33 | EA | 66
2 | S&F TV Shape Mirror 609.6mmx457 .2mm | Mirror | S&F TV Shape Mirror 609.6mmx457 .2mm | As per relevant standard specifiction | 564 | EA | 1128
2.7 | S&F Glow Sign Board | Board | S&F Glow Sign Board | As per relevant standard specifiction | 3735 | M2 | 10084.5
1 | S&F of 8 Port Switch | Network | S&F of 8 Port Switch | As per relevant standard specifiction | 1430 | EA | 1430
4 | S&R Cat 6 RJ-45 Information Outlets | Network | S&R Cat 6 RJ-45 Information Outlets | As per relevant standard specifiction | 521 | EA | 2084
4 | S&F 7Feet Length Moulded Patch Cord | Network | S&F 7Feet Length Moulded Patch Cord | As per relevant standard specifiction | 195 | EA | 780
75 | S&R LAN Cat-6 UTP Cable-Dlink/Legrand | Network | S&R LAN Cat-6 UTP Cable-Dlink/Legrand | As per relevant standard specifiction | 41 | M | 3075
1 | S&F 6U Wall Mount Network Rack | Network | S&F 6U Wall Mount Network Rack | As per relevant standard specifiction | 7040 | EA | 7040
1 | Supply of Office Table 5'x3' | Furniture | Supply of Office Table 5'x3' | As per relevant standard specifiction | 13160 | EA | 13160
2 | Supply of Office Table 4'x2' | Furniture | Supply of Office Table 4'x2' | As per relevant standard specifiction | 8540 | EA | 17080
1 | Supply of Featherlite "Tycoon" High Back | Furniture | Supply of Featherlite "Tycoon" High Back | As per relevant standard specifiction | 15550 | EA | 15550
2 | Supply of "Astro" Medium Mesh Back | Furniture | Supply of "Astro" Medium Mesh Back | As per relevant standard specifiction | 10200 | EA | 20400
9 | Supply of PVC Chair | Furniture | Supply of PVC Chair | As per relevant standard specifiction | 1200 | EA | 10800
2 | Construct- 4' dia & 5' Ht Soak Pit | Sanitary | Construct- 4' dia & 5' Ht Soak Pit | As per relevant standard specifiction | 5878 | EA | 11756
30 | S&F RCC Fencing Pole 0.1mx0.1mx1.8m | Fencing | S&F RCC Fencing Pole 0.1mx0.1mx1.8m | As per relevant standard specifiction | 1299 | EA | 38970
72 | S&F RCC Fencing Pole 0.115mx0.115mx2.7m | Fencing | S&F RCC Fencing Pole 0.115mx0.115mx2.7m | As per relevant standard specifiction | 1443 | EA | 103896
175 | S&F Barbed Wire 8H & 2Cross | Fencing | S&F Barbed Wire 8H & 2Cross | As per relevant standard specifiction | 260 | M | 45500
2828625

## Sheet1
Estimate Quantity (only Figures) | Item Detailed Specification Description | Work Type eg. Earth Work, Electrical works.. etc ( upto 200 Characters) | Item Short Description ( upto 100 Characters) | APSS / Morth Cl. Number ( upto 200 Characters) | Rate (INR) ( Upto 2 Decimals ) | UOM ( upto 50 Characters) | Amount (INR) ( Upto 2 Decimals )
6 | Hire-JCB to Level & Clear the Site | Machinery | Hire-JCB to Level & Clear the Site | As per relevant standard specifiction | 2165.7 | H | 12994.2
53.4 | Excavation in Ordinary Soil | Earth Work | Excavation in Ordinary Soil | As per relevant standard specifiction | 366 | M3 | 19544.4
21 | Filling with already available Earthwork | Earth Work | Filling with already available Earthwork | As per relevant standard specifiction | 42 | M3 | 882
6.4 | PCC with 40mm Metal (1:4:8) | Plain Cement Concrete | PCC with 40mm Metal (1:4:8) | As per relevant standard specifiction | 4746 | M3 | 30374.4
0.9 | PCC with 20mm Metal (1:2:4) | Plain Cement Concrete | PCC with 20mm Metal (1:2:4) | As per relevant standard specifiction | 6158 | M3 | 5542.2
31.8 | CRS Masonary CM(1:6) 2nd Sort | Masonry work | CRS Masonary CM(1:6) 2nd Sort | As per relevant standard specifiction | 5517 | M3 | 175440.6
73.8 | S&Filling with Borrowed Gravel | Earth Work | S&Filling with Borrowed Gravel | As per relevant standard specifiction | 451 | M3 | 33283.8
9.2 | RCC Footing: M20Gr, Steel Centering | RCC | RCC Footing: M20Gr, Steel Centering | As per relevant standard specifiction | 9693 | M3 | 89175.6
4.4 | RCC Column GF: M20Gr, Steel Centering | RCC | RCC Column GF: M20Gr, Steel Centering | As per relevant standard specifiction | 13684 | M3 | 60209.6
4.1 | RCC Plinth Beam: M20Gr, Steel Centering | RCC | RCC Plinth Beam: M20Gr, Steel Centering | As per relevant standard specifiction | 12788 | M3 | 52430.8
5.3 | RCC Roof Beam GF: M20Gr, Steel Centering | RCC | RCC Roof Beam GF: M20Gr, Steel Centering | As per relevant standard specifiction | 12748 | M3 | 67564.4
0.5 | RCC Lintel GF: M20Gr, Steel Centering | RCC | RCC Lintel GF: M20Gr, Steel Centering | As per relevant standard specifiction | 13525 | M3 | 6762.5
8.4 | RCC Sunshade GF: M20Gr, Steel Centering | RCC | RCC Sunshade GF: M20Gr, Steel Centering | As per relevant standard specifiction | 1440 | M2 | 12096
16.4 | RCC Roof Slab GF: M20Gr, Steel Centering | RCC | RCC Roof Slab GF: M20Gr, Steel Centering | As per relevant standard specifiction | 11241 | M3 | 184352.4
33.7 | Brick Masonary in CM(1:6) GFloor | Masonry work | Brick Masonary in CM(1:6) GFloor | As per relevant standard specifiction | 9085 | M3 | 306164.5
12.3 | Brick Masonary in CM(1:6) 1Floor | Masonry work | Brick Masonary in CM(1:6) 1Floor | As per relevant standard specifiction | 9085 | M3 | 111745.5
4.3 | Reinforcement Steel Fe 415/500 | Steel | Reinforcement Steel Fe 415/500 | As per relevant standard specifiction | 78086 | TON | 335769.8
604.9 | Plastering 20mm (16mm+4mm)GFloor | Plastering | Plastering 20mm (16mm+4mm)GFloor | As per relevant standard specifiction | 573 | M2 | 346607.7
30 | Raised Pointing to CRS Masonary CM(1:3) | Plastering | Raised Pointing to CRS Masonary CM(1:3) | As per relevant standard specifiction | 125 | M2 | 3750
16.8 | RCM Drop Wall 40mm CM(1:2) GFloor | Dropwall | RCM Drop Wall 40mm CM(1:2) GFloor | As per relevant standard specifiction | 2891 | M2 | 48568.8
19.8 | RCM Racks w/o Steel & Plastering GFloor | Shelves | RCM Racks w/o Steel & Plastering GFloor | As per relevant standard specifiction | 840 | M2 | 16632
110.4 | Impervious Coat 20mm CM(1:3) GFloor | Plastering | Impervious Coat 20mm CM(1:3) GFloor | As per relevant standard specifiction | 594 | M2 | 65577.6
12 | S&F MT Wood Frame & Door-Laminate | Doors | S&F MT Wood Frame & Door-Laminate | As per relevant standard specifiction | 6871 | M2 | 82452
9 | S&F Powder Coated Al Window | Windows | S&F Powder Coated Al Window | As per relevant standard specifiction | 3572 | M2 | 32148
11 | S&F of MS Safety Grill | Grills | S&F of MS Safety Grill | As per relevant standard specifiction | 3031 | M2 | 33341
28 | Ceramic Tile Flooring 20mm CM(1:3) | Flooring | Ceramic Tile Flooring 20mm CM(1:3) | As per relevant standard specifiction | 937 | M2 | 26236
85.6 | Vitrified Tile Flooring 38mm CM(1:3) | Flooring | Vitrified Tile Flooring 38mm CM(1:3) | As per relevant standard specifiction | 1091 | M2 | 93389.6
6.5 | Vitrified Tile Skirting CM(1:3) | Flooring | Vitrified Tile Skirting CM(1:3) | As per relevant standard specifiction | 1079 | M2 | 7013.5
308.9 | Paint-PlasticEmulsn 2Coats+Primer-Intrnl | Painting | Paint-PlasticEmulsn 2Coats+Primer-Intrnl | As per relevant standard specifiction | 124 | M2 | 38303.6
301.6 | Painting SnowCem/Apex 2 Coats+Primer | Painting | Painting SnowCem/Apex 2 Coats+Primer | As per relevant standard specifiction | 205 | M2 | 61828
50 | S&F Surface PVC Pipe 25mm dia 1.5mm thck | Electrification | S&F Surface PVC Pipe 25mm dia 1.5mm thck | As per relevant standard specifiction | 86 | M | 4300
125 | S&F Conceal PVC Pipe 25mm dia in Wall | Electrification | S&F Conceal PVC Pipe 25mm dia in Wall | As per relevant standard specifiction | 93 | M | 11625
22 | S&F Modular Switch LP,FP,EFP for RBuild | Electrification | S&F Modular Switch LP,FP,EFP for RBuild | As per relevant standard specifiction | 568 | EA | 12496
18 | S&F Modular 3/2pin 6A Sockets | Electrification | S&F Modular 3/2pin 6A Sockets | As per relevant standard specifiction | 493 | EA | 8874
25 | S&R 2 of 14/0.3mm (1.0sqmm) (FR) | Electrification | S&R 2 of 14/0.3mm (1.0sqmm) (FR) | As per relevant standard specifiction | 49 | M | 1225
100 | S&R 2 of 36/0.3mm (2.5sqmm) (FR) | Electrification | S&R 2 of 36/0.3mm (2.5sqmm) (FR) | As per relevant standard specifiction | 100 | M | 10000
1 | S&F 12wySPNDB IP-20,10kA-6-32A SPMCB 4No | Electrification | S&F 12wySPNDB IP-20,10kA-6-32A SPMCB 4No | As per relevant standard specifiction | 6313 | EA | 6313
10 | S&F 1x40W Patty type Tube Light | Electrification | S&F 1x40W Patty type Tube Light | As per relevant standard specifiction | 726 | EA | 7260
6 | S&F Batten Holder | Electrification | S&F Batten Holder | As per relevant standard specifiction | 224 | EA | 1344
4 | S&F 1200mm (48'') Sweep Ceiling Fan | Electrification | S&F 1200mm (48'') Sweep Ceiling Fan | As per relevant standard specifiction | 2225 | EA | 8900
4 | S&F Electronic Regulator for Ceiling Fan | Electrification | S&F Electronic Regulator for Ceiling Fan | As per relevant standard specifiction | 590 | EA | 2360
1 | Provd-Independent Earthing | Electrification | Provd-Independent Earthing | As per relevant standard specifiction | 5169 | EA | 5169
3 | S&F 15.90mm OD CPVC Pipe-SDR 11 | Plumbing | S&F 15.90mm OD CPVC Pipe-SDR 11 | As per relevant standard specifiction | 343 | M | 1029
20 | S&F 22.20mm OD CPVC Pipe-SDR 11 | Plumbing | S&F 22.20mm OD CPVC Pipe-SDR 11 | As per relevant standard specifiction | 417 | M | 8340
50 | S&F 28.60mm OD CPVC Pipe-SDR 11 | Plumbing | S&F 28.60mm OD CPVC Pipe-SDR 11 | As per relevant standard specifiction | 514 | M | 25700
2 | S&F-20mm GM/Bronze Ball Valve | Plumbing | S&F-20mm GM/Bronze Ball Valve | As per relevant standard specifiction | 331 | EA | 662
2 | S&F-25mm GM/Bronze Ball Valve | Plumbing | S&F-25mm GM/Bronze Ball Valve | As per relevant standard specifiction | 466 | EA | 932
15 | S&F 110mm dia 3M 1Socket PVC/SWR Pipe | Plumbing | S&F 110mm dia 3M 1Socket PVC/SWR Pipe | As per relevant standard specifiction | 428 | M | 6420
4 | S&F 110mm dia Plain Bend PVC/SWR Pipe | Plumbing | S&F 110mm dia Plain Bend PVC/SWR Pipe | As per relevant standard specifiction | 100 | EA | 400
4 | S&F 110mm dia Door Bend PVC/SWR Pipe | Plumbing | S&F 110mm dia Door Bend PVC/SWR Pipe | As per relevant standard specifiction | 128 | EA | 512
2 | S&F Floor Trap (Bell Mouth) 110mm | Plumbing | S&F Floor Trap (Bell Mouth) 110mm | As per relevant standard specifiction | 269 | EA | 538
2 | S&F 101.6mm Nahany Trap | Plumbing | S&F 101.6mm Nahany Trap | As per relevant standard specifiction | 134 | EA | 268
3 | Construct-Brick Insptn Chamber 1'6"x1'6" | Sanitary | Construct-Brick Insptn Chamber 1'6"x1'6" | As per relevant standard specifiction | 4610 | EA | 13830
2 | S&F European Water Closet of 1st Quality | Sanitary | S&F European Water Closet of 1st Quality | As per relevant standard specifiction | 2102 | EA | 4204
2 | S&F Indian Make Plastic Seat and Lid | Sanitary | S&F Indian Make Plastic Seat and Lid | As per relevant standard specifiction | 1286 | EA | 2572
2 | S&F PVC Low Level Tank 10L | Sanitary | S&F PVC Low Level Tank 10L | As per relevant standard specifiction | 1740 | EA | 3480
2 | S&F Flat Back Wash Hand Basin | Sanitary | S&F Flat Back Wash Hand Basin | As per relevant standard specifiction | 1544 | EA | 3088
4 | S&F-15mm Angle Stop Valve Qtr turn | Plumbing | S&F-15mm Angle Stop Valve Qtr turn | As per relevant standard specifiction | 676 | EA | 2704
4 | S&F-15mm Bib Tap 400gm Full turn | Plumbing | S&F-15mm Bib Tap 400gm Full turn | As per relevant standard specifiction | 275 | EA | 1100
1000 | S&F Polyethylene Water Storage Tank | Water Tank | S&F Polyethylene Water Storage Tank | As per relevant standard specifiction | 10 | L | 10000
2 | S&F 31.75mm PVC Flexible Waste Pipe 0.9M | Sanitary | S&F 31.75mm PVC Flexible Waste Pipe 0.9M | As per relevant standard specifiction | 33 | EA | 66
2 | S&F TV Shape Mirror 609.6mmx457 .2mm | Mirror | S&F TV Shape Mirror 609.6mmx457 .2mm | As per relevant standard specifiction | 564 | EA | 1128
2.7 | S&F Glow Sign Board | Board | S&F Glow Sign Board | As per relevant standard specifiction | 3735 | M2 | 10084.5
1 | S&F of 8 Port Switch | Network | S&F of 8 Port Switch | As per relevant standard specifiction | 1430 | EA | 1430
4 | S&R Cat 6 RJ-45 Information Outlets | Network | S&R Cat 6 RJ-45 Information Outlets | As per relevant standard specifiction | 521 | EA | 2084
4 | S&F 7Feet Length Moulded Patch Cord | Network | S&F 7Feet Length Moulded Patch Cord | As per relevant standard specifiction | 195 | EA | 780
75 | S&R LAN Cat-6 UTP Cable-Dlink/Legrand | Network | S&R LAN Cat-6 UTP Cable-Dlink/Legrand | As per relevant standard specifiction | 41 | M | 3075
1 | S&F 6U Wall Mount Network Rack | Network | S&F 6U Wall Mount Network Rack | As per relevant standard specifiction | 7040 | EA | 7040
1 | Supply of Office Table 5'x3' | Furniture | Supply of Office Table 5'x3' | As per relevant standard specifiction | 13160 | EA | 13160
2 | Supply of Office Table 4'x2' | Furniture | Supply of Office Table 4'x2' | As per relevant standard specifiction | 8540 | EA | 17080
1 | Supply of Featherlite "Tycoon" High Back | Furniture | Supply of Featherlite "Tycoon" High Back | As per relevant standard specifiction | 15550 | EA | 15550
2 | Supply of "Astro" Medium Mesh Back | Furniture | Supply of "Astro" Medium Mesh Back | As per relevant standard specifiction | 10200 | EA | 20400
9 | Supply of PVC Chair | Furniture | Supply of PVC Chair | As per relevant standard specifiction | 1200 | EA | 10800
2 | Construct- 4' dia & 5' Ht Soak Pit | Sanitary | Construct- 4' dia & 5' Ht Soak Pit | As per relevant standard specifiction | 5878 | EA | 11756
30 | S&F RCC Fencing Pole 0.1mx0.1mx1.8m | Fencing | S&F RCC Fencing Pole 0.1mx0.1mx1.8m | As per relevant standard specifiction | 1299 | EA | 38970
72 | S&F RCC Fencing Pole 0.115mx0.115mx2.7m | Fencing | S&F RCC Fencing Pole 0.115mx0.115mx2.7m | As per relevant standard specifiction | 1443 | EA | 103896
175 | S&F Barbed Wire 8H & 2Cross | Fencing | S&F Barbed Wire 8H & 2Cross | As per relevant standard specifiction | 260 | M | 45500
60.89 | Seigniorage Charges - Sand | Seigniorages | Seigniorage Charges - Sand | As per relevant standard specifiction | 40 | M3 | 2435.6 | to be removed
83.64 | Seigniorage Charges - Metal | Seigniorages | Seigniorage Charges - Metal | As per relevant standard specifiction | 97.5 | M3 | 8154.9 | to be removed
73.8 | Seigniorage Charges - Gravel | Seigniorages | Seigniorage Charges - Gravel | As per relevant standard specifiction | 30 | M3 | 2214 | to be removed
2841429.5

## SCH
SCHEDULE
Name of Work:- Construction of Ameenpur section office in the premises of 33/11 KV Outdoor Substaion of Chakrapuri Colony, Ameenpur (V) & (M) in Patancheru Division, Sangareddy Circle.
SNo | SWR Codes | Description of Item | Qty |  | Rate | Unit | Amount
1 | SWR34179 | Hiring of JCB for site levelling and cleaning | 6 | EA | 2165.7 | EA | 12994.2
2 | SWR33015 | Earth Work Mass Excavation to a depth as directed, in soils such as Mixture of Gravel and Soft Disintegrated Rock like Shales, Ordinary Gravel, Stoney Earth and Earth Mixed with Fair Sized Boulders and in all conditions such as dry, wet, slurry etc.and in dense or hard soils, disposal and depositing of excavated soil with intial lead of 10 mt and intial lift of 2m or as directed, including cost and conveyance of all materials, ramping and lifting of materials, and labour charges, hire charges of machinery, tools & plants, bailing of water (either sub soil water, storm water, rain water, surface water or of any kind) if any at any stage of work until all works below ground level is finished to the satisfaction ,and from work such as shoring, timbering, strutting with required supports etc. for the work and removal of form work after completion of work etc all complete | 53.4 | M3 | 366 | M3 | 19544.4
3 | SWR33055 | Back Filling the foundation Columns, for lift wells ,Staircase foundation ,U.G Sump Septic tank, Road work ,storm water drain ,cable trench,soak pit and outside of hte reataining wall with the useful avilable excavated earth ,in layers not exceeding 150mm thick, conslidating each deposited layer by eatering and ramming including cost and conveyance of all materials labour chargess,hire charges of T&P,all leads and lifts etc,complete for finished item of work | 21 | M3 | 42 | M3 | 882
4 | SWR33028 | Providing and laying Plain Cement concrete of (1:4:8) for levelling course using 40mm size hard broaken Granite stone including cost and conveyance of all materials, se HBG metal for foundations and leveling course, including cost and conveyance of all materials,seignorage, water, labour charges, hire charges of nachinery, at all levels, depths,heights and floors consolidation by watering ,ramming in layers,bailing of water if any, and removal of form work after completion of work curing for reqired number of days,all incidental charges etc complete for finished item of work. | 6.4 | M3 | 4746 | M3 | 30374.4
5 | SWR33030 | Providing and laying Plain Cement Concrete of (1:2:4) with well graded machine crushed granite metal of 20mm nominal size from approved quarry for Bed Blocks, Hold Fasts including cost and conveyance of all materials, labour charges,hire charges of machnery,with all leads and lifts, for all floors curing for required number of days, all incidental charges etc complete for finished item work | 0.9 | M3 | 6158 | M3 | 5542.2
6 | SWR33041 | CRS masonry in CM(1:6) using Hard Granite Stones including cost and conveyance of all materials, seignorage charges, labour charge for construction and for dressing stones to required size and shape, dewatering,scaffolding,cutting for all leads and lifts, all incidental charges etc .complete for finished item of work | 31.8 | M3 | 5517 | M3 | 175440.6
7 | SWR33052 | Supplying and filling with borrowed gravel, watering, ramming, consolidating thoroughly complying with the standard specification including cost and conveyance of all materials, labour charges,hire charges of machnery,with all leads and incidental charges etc complete for finished item work | 73.8 | M3 | 451 | M3 | 33283.8
8 |  | Reinforced Cement concerete M20 GRADE Nominal Mix for footings , columns, Beams and Slab using 12mm to 20mm size graded HBG machine crushed metal from approvaed quary giving cube crushing strenth of 20 N /sqmm and a minimum of 400 kgs of cement for 1 cum of concrete including cost and conveyance charges for cement and all other materials to site, scaffolding charge , seignorage charges, centering, shuttering, machine mixing,laying concrete, curing for specified number of days vibrating etc compaction by pen vibrator or needle vibrator supplemented by hand spreeding rodding and tamping ,all incident and operational charges , all leads and lifts and for all leaving gaps and pockets etc complete, but excuding cost of ssteel and its fabrication,all incidental charges etc .complete for finshed item of work |  |  |  | 0 | 0
|  | A)Ground floor |  |  |  | 0 | 0
9 | SWR33098 | a)Footings | 9.2 | M3 | 9693 | M3 | 89175.6 |  | 40.53
10 | SWR33100 | b)Columns | 4.4 | M3 | 13684 | M3 | 60209.6
11 | SWR33099 | c)Plinth beams | 4.1 | M3 | 12788 | M3 | 52430.8
12 | SWR33121 | d)Roof beams | 5.3 | M3 | 12748 | M3 | 67564.4
13 | SWR33107 | e)Lintels | 0.5 | M3 | 13525 | M3 | 6762.5
14 | SWR33114 | f)Sun shade 0.6m width 3" thick | 8.4 | M2 | 1440 | M2 | 12096
15 | SWR33128 | g)Slab | 16.4 | M3 | 11241 | M3 | 184352.4
Brick masonry for wall in superstructure (230mm thick) in CM 1:6 using traditional Local madeSecound Class Bricks from approved sourse and quality having crushing strength of not less than 100 Kg/sq cm and water absorption not exceeding 20% by weight including cost and conveyance of all mateerials, seigniorage charge, all labour charges, curing for number of days as specified, for all leads, lifts scaffolding chargess, at all heght levels and floors all incidental charges etc completed item of work.
16 | SWR33068 | A)Ground floor | 33.7 | M3 | 9085 | M3 | 306164.5
17 | SWR33069 | B)First floor | 12.3 | M3 | 9085 | M3 | 111745.5
18 | SWR33144 | Providing High Yield Strength Deformed (HYSD)/ Thermo Mechanically Treated (TMT) / Mild steel (MS) steel bars (Fe 415/ Fe 500 grade as per IS 1786-1979) of different diameters for RCC works , including labour charges for straightening, cutting, bending to required sizes and shapes, placing in position with cover blocks of approved materials and size and tying and lap-splicing with binding wire of 18 SWG, forming grills for reinforcement work as per approved designs and drawings, including cost and conveyance of steel bars, including all wastages such as overlaps, couplings, chairs, spacer bars including cost and conveyance of binding wire, cover blocks and all incidental, operational, labour charges such as cutting, bending, placing in position, tying including sales and other taxes on all materials etc.,complete for finished item of work | 4.3 | TO | 78086 | TO | 335769.8
Providing plastering of 20mm thick to all uneven faces of walls and ceiling of superstructure in two coats with base coat in CM 1:5of 16mm thick and top coat in Cm 1:3 4mm thick with dubara sponge finish including cost and conveyance of all materials . water. all labour charges, curing for specified number of days, cutting grooves, at allheghits, level and floro, all leads, lifts and scaffolding charges, all incidental and scaffolding charges, seigniorage charges, all incidental charges etc. complete for finished item of work
19 | SWR33163 | A)Ground floor | 604.9 | M2 | 573 | M2 | 346607.7
20 | SWR33184 | Raised pointing in CM(1:3) including curing, cost and conveyance of all materials and labour charges for complete item of work. | 30 | M2 | 125 | M2 | 3750
21 | SWR33203 | Providing Reinforced cement Drop Walls in CM 1:2 of 40mm thick over rabbit wire mesh including cost and conveyance of all meterials, labour charges, curing for specified number of days,at all levels, floors, height, leads and lifts, seignioage charges all incidental charges etc . complete, but excluding cost of steel as per the approved drawing for finished item of work | 16.8 | M2 | 2891 | M2 | 48568.8
22 | SWR33196 | Providing Reinforced Cement shelves in CM 1:2 of 25 mmm thick over rabbit wire mesh and plastering of 12mm thick in CM 1:3 prop and including cost and conyance of all materials and labour charges etc at all floors heights etc for finished item of work excluding cost of steel and its fabrication for finished item of work in all floors. | 19.8 | M2 | 840 | M2 | 16632
Providing impervious coat over RCC roof slab surfaces to requried slopes with 20mm thick in CM 1:3 pro mixed with approved brand of water proofing compound as the rate of 1 kg per bag of cement including cost and conveyance of all materials, water, all labour charges, chemicals, curing for specifed number of days,rounding off junctions of wall and slab, all leads, lifts, heights,levels and floors etc.complete for finished item of work.
23 | SWR33156 | A)First floor | 110.4 | M2 | 594 | M2 | 65577.6
24 | SWR33264 | Supply and fixing of doors with the frames of the door shall be made well seasoned MT wood of cross section 100x75mm. The shutter shall be made ISI mark flushed door with two coats of synthetic enamel paint of approved color over one coat of primer over luppum with spary on both sides with 3 no 150mm hinges, 1 no door stoper, 1 no 250mm aldrop, 1 no 300 mm tower bolts, 2 no 150mm door handlers of MS Powder coated, including cost and conveyance of the meterials,fixing,labour carges,tools,handles,locking arrangementts and other fixtures & fittings for finished item work | 12 | M2 | 6871 | M2 | 82452
25 | SWR33278 | Supplying and fixing Alluminium sliding windows(Outer frame 62x29.5x1.2 mm) with fixed glass panels using anodised aluminium extruded sections of mat finish for frames(shutters frame 50x20x1.2mm) and mullions providing 5mm plain glass fixed to the frame with beading gasket and glazing clips with all accessories, locking arrangements etc.,including cost and coveyance of all mateirals with all leads and lifts,labour charges, its.,complete for finished item of work | 9 | M2 | 3572 | M2 | 32148
26 | SWR33310 | Supplying and fixing of MS safety grill with peripheral frame of ISA 25x25x4mm and 8mm square rods at 100mm c/c both in horizontal & vertical direction including cost and coveyance of all mateirals with all leads and lifts, labour charges, painting charges complete for finished item of work | 11 | M2 | 3031 | M2 | 33341
27 | SWR33224 | Flooring with ceramic tiles of 1st class quality of approved brand shade and design of different size laid over a floor bed of CM 1:3 of 12 mm thick base coat and neat grey cement slurry of honey like consistancy spread at the ratet of 3.3 kg of cement per sqm and pointed to full deapth, (joints must be flushed) with white cement paste mixed with pigment when requied including cost and conveyance of cement and all materials ,labour charges, at all levels, heights and floors,curing etc. complete for finished item of work. | 28 | M2 | 937 | M2 | 26236
28 | SWR33223 | Flooring with Vertified tiles 20mm thick of approved colour, quality and approved size over a bed of cement mortar 1:3 20mm thick including cost of all materials, with all leads and lifts jointing and pointing with cement, labour etc, complete for finished item of work. | 85.6 | M2 | 1091 | M2 | 93389.6
29 | SWR33238 | Providing skirting with Vertified tiles including cost & conveyance of all materials,labour charges etc complete for finished item of work. | 6.5 | M2 | 1079 | M2 | 7013.5
30 | SWR33340 | Painting in all floors as specified with two coats of Plastic emulation paint of approved colour make and shade over one coat of white primer including cost and conveyance of all materials, labour charges at all leads, lifts, hights, levels and floors,all incidental charges etc. complete for finished item of work . | 308.9 | M2 | 124 | M2 | 38303.6
Painting to External Faces of walls(outside) in all floors as specified with two coats of ACE or equivalent quality paint of approved colour make and shade over one coat of white cement primer including cost and conveyance of all materials, labour charges at all leads, lifts, hights, levels and floors,all incidental charges etc. complete for finished item of work .
31 | SWR33336 | A) Ground Floor | 301.6 | M2 | 205 | M2 | 61828
ELECTRICAL ITEMS
32 | SWR33438 | Supply and fixing 25mm dia 1.5mm thick recessed( concealed) PVC pipe alog with reinforcement to be laid in slab including No 14 SWG GI wire for earth contunity, cost of pipe, binding wire and all labour charges etc complete | 50 | Rmt | 86 | Rmt | 4300
33 | SWR33441 | Supplying and fixing of 25mm dia 1.5mm thick PVC conduit pipe conceald in wall with all required accessories with No 14 SWG wire for earth conitunity including chisiling the wall whereever necessary, including masonary work and all labour charges complete. | 125 | Rmt | 93 | Rmt | 11625
34 | SWR33458 | Wiring with 2X1.0 Sqm(14/.3mm) PVC insulated flexiable copper cable in the existing metalic/Non metalic conduit pipe with 6A modular SP switch, mounted on metalic box covereds with appropriate front plate modules etc ceiling rose including cot and conveyance of all mateials, labour charges complete for light points, bell points exhaust fan points in non residential builsing except circuit moving finished in all types masonary as directed by department (Anchor Roma/GM/HAVELLS/FINOLEX) | 22 | EA | 568 | EA | 12496
35 | SWR33461 | Supplying and erection of approved make 6 Amps one modular SP switch with 6 Amps 6 pin mudular type plug socket mounted on metallic box covered with appropriate front plate as including all labour and material charges etc., complete for finished item of work. | 18 | EA | 493 | EA | 8874
36 | SWR33494 | supplying and run of 2 of 14/0.3 mm(1.0 sqmm) PVC insulated flexiable copper cable in existing conduit pipe for run of mains including all labour charges and materials chages etc. complete. (FINOLEX/HAVELS) | 25 | Rmt | 49 | Rmt | 1225
37 | SWR33497 | supplying and run of 2 of 28/0.3 mm(2.5 sqmm) PVC insulated flexiable copper cable in existing conduit pipe for run of mains including all labour charges and materials chages etc. complete. (FINOLEX/HAVELS) | 100 | Rmt | 100 | Rmt | 10000
38 | SWR33521 | Supply and fixing of 12 way SPN Distribution board with IP-20 protection suitable for single phase 40A DP Isolator/ELCB/RCCB as incomer and 10kA-6-32A SP MCBs 6Nos as out going including connections and all labour charges concealed in wall by chiseling and masonaqry work etc complete. | 1 | EA | 6313 | EA | 6313
39 | SWR33543 | Supply and erecting of approved make crom/bajaj make as directed by department 1x40W patty type fluorscent fitting made of CRCA sheet,completed with polyster filled 40W.choke,starter and side holders etc.complete with 40W tube all lobour charges etc complete (PHILIPS/CROMPTON) | 10 | EA | 726 | EA | 7260
40 | SWR33484 | Supply and fixing of batten holder/slanting holder in lieu of ceiling rose of light point complete with all connections and all labour charges with 11 to CF2 etc complete.(PHILIPS/CROMPTON) | 6 | EA | 224 | EA | 1344
41 | SWR33563 | Supply and errection ceiling fan of selected colour and delux model high breeze with 3 blades and double ball bearing and with condenser AC 250 V 50 C/S of 48" 600 mm sweep completed erected in position with resistance type regulator, canopy down rod upto 304.8 mm in length is provided with hook/clamps nuts and bolts and 24/0.2 flexible copper wire etc.,complete and pointed with lettering by enamel paint the Sr.No and date of erection including cost and conveyance of all labour charges (Almonard/CG/Khaitan/Bajaj) and as per the direction of Engineer in charge. | 4 | EA | 2225 | EA | 8900
42 | SWR33564 | Supply and fixing of Electronic Regulator of Modular of GM / Legrand Myrius / L & T / North West / Indo Simon / ABB /Schneider ZEN celo including cost and conveyance of all labour charges and as per the direction of Engineer in charge. | 4 | EA | 590 | EA | 2360
43 | SWR33596 | Providing independent earthing for sophisticated equipment like computer, medical equipment electronic gadgets etc with 600X600X3.15mm thick copper plate rigidly fixed to the 40mm dia GI pipe 2.5m long pipe and 19mm dia B class GI pipe of .3 mts long connectd with reducer providing of stggred holes of 16 Nos of 12 mm dia to earth electrode, enclosed in in a CC chamber of (400X400X400) mm with suitable reinforced RCC slab cover duly filling with betonite powder and clay in (1:6) prop from bottom of pipe to bottom of CC chamber giving earth connection from the electrode throuh necessary GI strip of 25X6X200 mm length provided with suitable size o 14 Nos holes GI washers nuts and bolts and all labour charges etc complete. | 1 | EA | 5169 | EA | 5169
Water supply and sanitary items
44 |  | Supply and Fixing of Ashirvad/ Ajay/ Astral Flowguard or equivalent CPVC Pipes and Fittings to meet the requirement of ASTM-D 2846 and are produced in CTS (Copper Tube Sizes 1/2" ton 2" Ashirvad Flowgurard SDR 11 and SDR 13.5 pipes are made from idential CPVC compounds having the same physical Properties for Hot and Cold Water (IS 15778:2007)
| SWR34361 | a)15.90mm OD Pipe - SDR 11 | 3 | Rmt | 343 | Rmt | 1029
| SWR34362 | b) 22.20mm OD Pipe - SDR 11 | 20 | Rmt | 417 | Rmt | 8340
| SWR34363 | c) 28.60mm OD Pipe - SDR 11 | 50 | Rmt | 514 | Rmt | 25700
45 |  | S & F Gunmetal (GM) Ball valve with SS Ball and SS Spindle as per IS - Class - I, Indian make heavy type
| SWR34345 | a) 20 mm NB Size | 2 | EA | 331 | EA | 662
| SWR34346 | b) 25 mm NB Size | 2 | EA | 466 | EA | 932
46 | SWR34377 | Supply and Fixing of 110 mm dia 3 M Single Socket PVC/SWR pipe - 6 Kg/sq.cm - Prince/Sudhakar or any ISI Brand including cost and conveyance, labour charges of all materials etc. complete for finished item of work. | 15 | Rmt | 428 | Rmt | 6420
47 | SWR34380 | Supply & fixing of 110 mm dia - Plain Bend 87.5 Degree - UPVC/SWR Pipe fittings (Prince/Sudhakar or any ISI Brand) including cost and conveyance, labour charges of all materials etc. complete for finished item of work. | 4 | EA | 100 | EA | 400
48 | SWR34381 | Supply & fixing of 110 mm dia - Door Bend 87.5 Degree - UPVC/SWR Pipe fittings (Prince/Sudhakar or any ISI Brand) including cost and conveyance, labour charges of all materials etc. complete for finished item of work. | 4 | EA | 128 | EA | 512
49 | SWR34386 | Supply & fixing of Floor Trap (Bell Mouth ) 110 mm - UPVC/SWR Pipe fittings (Prince/Sudhakar or any ISI Brand) including cost and conveyance, labour charges of all materials etc. complete for finished item of work. | 2 | EA | 269 | EA | 538
50 | SWR34387 | Supply&fixing of 4" (101.6 mm ) Nahany Trap ( Without Jali with inlet)UPVC/SWR Pipe fittings (Prince/Sudhakar or any ISI Brand) including cost and conveyance, labour charges of all materials etc. complete for finished item of work. | 2 | EA | 134 | EA | 268
51 | SWR34297 | Constructing 457.2 mm x 457.2 mm (1'6"x1'6") brick in CM 1:6 prop. Masonry. Inspection chamber up to 914.4 mm (3'0") and fitted with light weight 457.2 mm x 457.2 mm (1'6"x1'6") C.I frame and cover of 20 Kg. | 3 | EA | 4610 | EA | 13830
52 | SWR34314 | Supplying and Fixing European Water Closet of 1st quality conforming to IS:2556-Part-2-1973 of Hindustan / Neycer or Parryware make white glazed with 'S' trap including cost and conveyance, labour charges etc complete. | 2 | EA | 2102 | EA | 4204
53 | SWR34315 | Supplying and fixing of best indian make plastic seat and lid for European water closets and buffers as per IS 2548-1963 | 2 | EA | 1286 | EA | 2572
54 | SWR34376 | Supply and fixing of PV low level system parryware/slim line with internal component and short bend of 10 lits capacity with choice color etc., complete. | 2 | EA | 1740 | EA | 3480
55 | SWR34316 | Supplying & Fixing Indian make Flat Back Wash Hand Basin (HSW/Parryware/ Neycer) 1st quality conforming to IS:2556-Part-4:1972 with waste fittings like rubber plug, chain, 32 mm nominal size C.P. Fitting with parallel pipe thread conforming to IS:2963-1979 and fitted with 15 mm nominal bore Chromium Plated Pillar Tap of 1st quality Indian make 400 grams Seiko/ Senior/ Nice/ Esso or equivalent complete with standard CI brackets including wooden block: 550 x 400 mm - Single C.P. Pillar cock | 2 | EA | 1544 | EA | 3088
56 | SWR34328 | Suplying and fixing of angle stop cock 12.7mm dia fisrt quality indian make seiko or equivalent. | 4 | EA | 676 | EA | 2704
57 | SWR34329 | Suplying and fixing of bib tap 12.7mm dia fisrt quality indian make seiko or equivalent. | 4 | EA | 275 | EA | 1100
58 | SWR34375 | Providing and placing on terrace (at all floor levels) Sintex /Aqua tech or equivalent Polyethylene water storage tank double layer conforming to ISI 12701/96 mark with lid and suitable locking arraqngments and making necessary holes for inlet and outleta and over flow pipes labour charges etc complete for finished item of work. | 1000 | L | 10 | L | 10000
59 | SWR34426 | Suplying and fixing of 31.75mm PVC waste pipe for wash basin including cost and conveyance of all materials and labour charges et complete | 2 | EA | 33 | EA | 66
60 | SWR34425 | Supplying and fixing of TV shape mirror with plastic size 609mmX 457.2 m | 2 | EA | 564 | EA | 1128
61 | SWR33422 | S&F of glow sign board with lettering of approved quality including cost of all materials and labour charges complete for finished item. | 2.7 | M2 | 3735 | M2 | 10084.5
LAN Network
62 | SWR33719 | Supply of 8 port D-link switches 10/100 Mbps | 1 | EA | 1430 | EA | 1430
63 | SWR33718 | Supply D-Link make information outlets with surface mountboxes | 4 | EA | 521 | EA | 2084
64 | SWR33720 | Supply of 7 FT length moulded patch card of make D-Link etc., | 4 | EA | 195 | EA | 780
65 | SWR33717 | Running of D-Link cat 5e cable in pipes (including labour & material) | 75 | Rmt | 41 | Rmt | 3075
66 | SWR33726 | Fixing 6U rack with power manager etc., complete. | 1 | EA | 7040 | EA | 7040
FIURNITURE
TABLE for AE
67 | SWR33740 | Table with top made from 25mm thick IS 12823 Plain Particle Board Post-formed with colour laminate on top side and backup laminate on bottom side. All other panels made with 18mm thick IS 12823 Pre-laminated Particle board with all exposed edges duly edge banded using PVC Tape with EVA hot melt glue at 200°c , on State-of-The-art ‘through feed’ Edge banding machine. The table is assembled/ fitted together using necessary hardware such as Chip Board Screws, Dowels, Steel drawer slides, Handles and Locks. | 1 | EA | 13160 | EA | 13160
Size of Table Top : 1500 x 900 x 25mm thick Size of Table Top : 900 x 400mmHeight of Table : 750mm Height of Table : 750mm Accessories: 3-Drawers on one side lockable with multi lock ,Foot rest- Independent type made out of Pre-laminated board, all exposed edges duly edge-banded.
TABLE for Staff
68 | SWR33744 | Table with top made from 25mm thick IS 12823 Plain Particle Board Post-formed with colour laminate on top side and backup laminate on bottom side. All other panels made with 18mm thick IS 12823 Pre-laminated Particle board with all exposed edges duly edge banded using PVC Tape with EVA hot melt glue at 200°c , on State-of-The-art ‘through feed’ Edge banding machine. The table is assembled/ fitted together using necessary hardware such as Chip Board Screws, Dowels, Steel drawer slides, Handles and Locks. | 2 | EA | 8540 | EA | 17080
Size of Table Top : 1200 x 600 x 25mm thick,Height : 750mm
3-Drawers on one side lockable with multi lock,Foot rest
69 | SWR33856 | Providing High Mesh Back Chair Fabric upholstered Seat,Synchro mechanism,Two way adjustable arms,Gas lift, Nylon base,Glass filled Nylon castors The rate is inclusive of cost and conveyance of all materials, labour charges.etc complete for finished item of work Featherlite or approved make as directed by the Engineer - In - Charge. | 1 | EA | 15550 | EA | 15550
70 | SWR33855 | Providing Contact Medium Mesh Back Chair Fabric upholstered Seat,Synchro mechanism,Two way adjustable arms,Gas lift, Nylon base,Glass filled Nylon castors The rate is inclusive of cost and conveyance of all materials,labour charges etc complete for finished item of work Featherlite or approved make as directed by the Engineer - In - Charge. | 2 | EA | 10200 | EA | 20400
71 | SWR33858 | Providing of P V C chairs of Neelkamal of approved quality & make including cost etc complete | 9 | EA | 1200 | EA | 10800
72 | SWR34444 | Construction of soak pit with 4' dia RCM rings upto a depth of 6' including cost and conveyance of all materials | 2 | EA | 5878 | EA | 11756
73 | SWR33405 | S&F RCC Fencing Pole 0.1mx0.1mx1.8m | 30 | EA | 1299 | EA | 38970
74 | SWR33406 | S&F RCC Fencing Pole 0.115mx0.115mx2.7m | 72 | EA | 1443 | EA | 103896
75 | SWR33407 | S&F Barbed Wire 8H & 2Cross | 175 | Rmt | 260 | Rmt | 45500
76 | SWR34470 | Seigniorage Charges - Sand | 60.89 | M3 | 40 | M3 | 2435.6 | to be removed
77 | SWR34471 | Seigniorage Charges - Metal | 83.64 | M3 | 97.5 | M3 | 8154.9 | to be removed
78 | SWR34472 | Seigniorage Charges - Gravel | 73.8 | M3 | 30 | M3 | 2214 | to be removed
|  | Service cost |  |  |  | Rs. | 2841429.5
|  | 18% GST |  |  |  | Rs. | 511457.31
|  | Gross Amount |  |  |  | Rs. | 3352886.81