|  |  |
| --- | --- |
|  | **SOUTHERN POWER DISTRIBUTION COMPANY OF TELANGANA LIMITED**  **6-1-50, Corporate Office, Mint Compound, Hyderabad - 63** |

**ABSTRACT**

TGSPDCL - O&M – Improvement Works – Estimate for providing of 33KV dedicated source to 33/11kV Clock Tower SS from 132/33kV Chilkalguda GIS EHT SS by laying of 33KV 3X400sq.mm XLPE UG cable (Single Run) for a distance of 2.953KM in Lines James Street Section of Nehru nagar Sub Division in Paradise Operation Division and work executed by the Master plan SD-V Sub-Division of MP-1 Division of Hyderabad Master plan Circle under T&D Improvements to original works (Summer Action Plan 2026) - Sanction - Accorded.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_­­­­­

**S.P.O.O.(O&M-T&D-Imp.works) Ms.No.** **47, Dt:06.01.2026**

Read the following:

1. Lr.No.CE/MP Zone/DE(T)/ADE(T)/TGSPDCL/F/D.No.1763/25-26, Dt:22.11.2025
2. Estimate No. T-2527-12-01-02-01-004
3. Note approved by the CMD/TGSPDCL vide Reg.No. 35, Dt: 05.01.2026

-\*\*\*-

**ORDER:**

1) The Chief Engineer/Master Plan Zone has submitted an estimate for "providing of 33KV dedicated source to 33/11kV Clock Tower SS from 132/33kV Chilkalguda GIS EHT SS by laying of 33KV 3X400sq.mm XLPE UG cable (Single Run) for a distance of 2.953KM in Lines James Street Section of Nehru nagar Sub Division in Paradise Operation Division and work executed by the Master plan SD-V Sub-Division of MP-1 Division of Hyderabad Master plan Circle under T&D Improvements to original works (Summer Action Plan 2026) " vide reference 1st cited above.

2) After careful consideration, TGSPDCL accords technical sanction for an amount of Rs.2,73,13,090/- (Rupees: Two Crores Seventy Three Lakhs Thirteen Thousand and Ninety Only) (G&N) under T&D improvements to original works as per the estimate enclosed.

3) The expenditure is chargeable to TGSPDCL – Capital receipts and expenditure –3 distribution system (including substations) improvements works in progress –Distribution (HV/M & LV) improvement works A/c. No. **1000501**: Lines, Cables & Network.

4) The expenditure shall be met from the budget provision available for under “**Lines”** sub head of **Masterplan Hyderabad** Circle.

5) The concerned field officers will be held responsible for any wrong/shortfall/excessive estimation and bill claims.

6) This order is issued with the concurrence of the Director (Finance)/TGSPDCL vide Regd. No.5795, Dated: 03.01.2026.

**(BY ORDER AND IN THE NAME OF SOUTHERN POWER DISTRIBUTION COMPANY**

**OF TELANGANA LIMITED)**

**MD.MUSHARRAF FARUQUI, IAS**

**CHAIRMAN & MANAGING DIRECTOR**

**To**

The Chief Engineer/Masterplan Zone

**Copy to:**

The Superintending Engineer/Masterplan/Hyderabad Circle

The Chief Engineer /P&MM/TGSPDCL

The Chief General Manager /Finance/TGSPDCL

// FORWARDED BY ORDER //

DIVISIONAL ENGINEER/O&M-II