## Table 3
Schedule for the work of providing of 33KV dedicated source to 33/11kV Clock Tower SS from 132/33kV Chilkalguda GIS EHT SS by laying of 33KV 3X400sq.mm XLPE UG cable (Single Run) for a distance of 2.953KM in Lines James Street Section of Nehru nagar Sub Division in Paradise Operation Division and work executed by the Master plan SD-V Sub-Division of MP-1 Division of Hyderabad Master plan Circle under T&D Improvements to original works (Summer Action Plan 2026)
S.No | Services Code | Services Text | Quantity | Unit | Rate in Rs. | Amount in Rs.
1 | SWR22092 | survey line&cabl inc peg mark&tree clear | 3 | KM | 765 | 2295
2 | SWR11230 | Load-11/33KV XLPE UG Cable for all sizes | 10 | DR | 1024 | 10240
3 | SWR11860 | Transport of Cond Drum,VCBs upto 10Km | 5 | EA | 2720.34 | 13601.7
4 | SWR11231 | Unload-11/33KV XLPE UG Cable all sizes | 10 | DR | 1024 | 10240
5 | SWR11927 | Lay-SR 33KV 3x400sqmm UG Cb CC/BT Compsr | 2593 | M | 1175.56 | 3048227.08
6 | SWR11936 | Lay-SR 33KV 3x400sqmm UG Cb CC/BT RdCrsg | 250 | M | 1319.84 | 329960
7 | SWR11918 | Lay-SR 33KV 3x400sqmm UG Cb HG/BC/CC/BT | 80 | M | 572.1 | 45768
8 | SWR11003 | Laying of 33kV UG 1Run in Hard rock. | 30 | RMT | 1287 | 38610
9 | SWR25089 | S&E-Smart RFID marker | 32 | EA | 2745 | 87840
10 | SWR10382 | Straight through joint 33kv 3x400 xlpe | 12 | EA | 5700.78 | 68409.36
11 | SMR40081 | S-6" B Class GI pipe 5mm thck 20Kg/M | 120 | M | 1344 | 161280
12 | SMR11610 | S-6" DWC pipe | 100 | M | 1012 | 101200
13 | SMR40001 | Hume pipe 9" size | 20 | M | 125 | 2500
14 | SWR10387 | OD/Idoor end termination 33kv 3x400 xlpe | 4 | EA | 2764.76 | 11059.04
15 | SWR11954 | Raise-SR 33KV 3x400sqmm UG Cb on support | 47 | M | 135.66 | 6376.02
16 | SWR21903 | Consult charg for providng traffic diver | 2800 | M | 30 | 84000
17 | SWR10206 | LOADING of MS Channel,Angles,Flats&Rods | 0.46 | TO | 221 | 101.66
18 | SWR10524 | UNLOADING of MS Channel,Angles,Flats&Rod | 0.46 | TO | 185 | 85.1
19 | SWR10204 | LOADING of R.S. Joists 175 x 85 mm | 6 | EA | 76 | 456
20 | SWR10132 | TRANSPORT OF STEEL 10 TO 20KM | 1.96 | TO | 412.08 | 807.68
21 | SWR10522 | UNLOADING of R.S. Joists 175 x 85 mm | 6 | EA | 50 | 300
22 | SWR10642 | Fabricate&Paint- 175x85/150x75mm RS Joist | 3 | EA | 512.55 | 1537.65
23 | SWR10640 | Painting of RS Joist(1C RO, 2C Al.Paint) | 3 | EA | 1132 | 3396
24 | SWR11040 | Ex of Hard pit w/o blast 0.75X0.9X1.95M | 2 | EA | 990.68 | 1981.36
25 | SWR11266 | Erection of 9/10/11Meter Box pole | 2 | EA | 2643.83 | 5287.66
26 | SWR10918 | Earthing for raisers of SS Flat 75x8 mm. | 34.043 | RMT | 50 | 1702.15
27 | SWR10356 | Mass concreting of supports incl. cement | 3.15 | M3 | 6579 | 20723.85
28 | SWR11890 | Coping & Muffing-Iron Pole | 0.093 | M3 | 3893.01 | 362.05
29 | SWR10869 | Fabrication of struc.with welding. | 0.3 | TO | 3426 | 1027.8
30 | SWR10239 | LOADING of 33 KV AB SWCH Con 400/800 A | 2 | EA | 126 | 252
31 | SWR10557 | UNLOADING of 33 KV AB SWCH Con 400/800 A | 2 | EA | 79 | 158
32 | SWR10392 | Erection of 33kv ABSwitch incl earthing | 2 | EA | 4500 | 9000
33 | SMR11483 | S-CI Pipe earthing 80mm dia 2.75m long | 4 | EA | 2789 | 11156
34 | SWR10357 | ERECT. OF LINES-Providing of earthing | 4 | EA | 1234.2 | 4936.8
35 | SWR10359 | ERECT. OF LINES-Providing of RCC collar | 4 | EA | 386 | 1544
36 | SMR40085 | S-RCC Cable Joint/Route Marker | 27 | EA | 484 | 13068
37 | SWR12101 | Paint-Feeder Name on Support incl. Paint | 2 | EA | 53 | 106
38 | SMR11488 | S-GI Bolts & Nuts,Washers etc., | 50 | KG | 117.5 | 5875
39 | SWR10881 | Painting AB switch OP rods with PO red | 2 | EA | 142 | 284
40 | SWR12331 | AB Switch Coil Earthing GI No. 8 Wire | 2 | EA | 146.63 | 293.26
41 | SWR20863 | R.S. joist box poles erection complete | 2 | EA | 1044.23 | 2088.46
42 | SWR11039 | Exca Hard pit w/o blast 0.76X0.76X1.83M | 2 | EA | 928 | 1856
Total cost without GST | [5 empty] | 4109992.68
18% GST | [5 empty] | 739798.6824
Total cost withGST | [5 empty] | 4849791.3624