|  |  |
| --- | --- |
|  | **SOUTHERN POWER DISTRIBUTION COMPANY OF TELANGANA LIMITED**  **6-1-50, Corporate Office, Mint Compound, Hyderabad - 63** |

**ABSTRACT**

TGSPDCL - O&M – Improvement Works – Estimate for providing of 132kV GUN ROCK EHT supply to 33/11kV ALWAL SS by laying of 3 km single run of 3X400Sqmm. XLPE UG Cable from 132kV GIS GUN Rock SS pertaining to Lines Bowenpally section Sub Division of Nehrunagar in cantonment Operation Division and work executed by the Master plan SD-V Sub-Division of MP-1 Division of Hyderabad Master plan Circle under T&D Improvement Works (Summer Action Plan 2026) - Sanction - Accorded.

\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_­­­­­

**S.P.O.O.(O&M-T&D-Imp.works) Ms.No.** **35, Dt:06.01.2026**

Read the following:

1. Lr.No.CE/MP Zone/DE(T)/ADE(T)/TGSPDCL/F./D.No.1763/25-26, Dt:22.11.2025
2. Estimate No. T-2527-12-01-02-01-007
3. Note approved by the CMD/TGSPDCL vide Reg.No. 24, Dt: 31.12.2025

-\*\*\*-

**ORDER:**

1) The Chief Engineer/Master Plan Zone has submitted an estimate for "providing of 132kV GUN ROCK EHT supply to 33/11kV ALWAL SS by laying of 3 km single run of 3X400Sqmm. XLPE UG Cable from 132kV GIS GUN Rock SS pertaining to Lines Bowenpally section Sub Division of Nehrunagar in cantonment Operation Division and work executed by the Master plan SD-V Sub-Division of MP-1 Division of Hyderabad Master plan Circle under T& D Improvement Works (Summer Action Plan 2026)" vide reference 1st cited above.

2) After careful consideration, TGSPDCL accords technical sanction for an amount of Rs.4,68,95,680/- (Rupees: Four Crores Sixty Eight Lakhs Ninety Five Thousand Six Hundred and Eighty Only) (G&N) under T&D improvements to original works as per the estimate enclosed.

3) The expenditure is chargeable to TGSPDCL – Capital receipts and expenditure –3 distribution system (including substations) improvements works in progress –Distribution (HV/M & LV) improvement works A/c. No. **1000501**: Lines, Cables & Network.

4) The expenditure shall be met from the budget provision available for under “**Lines”** sub head of **Masterplan Hyderabad** Circle.

5) The concerned field officers will be held responsible for any wrong/shortfall/excessive estimation and bill claims.

6) This order is issued with the concurrence of the Director (Finance)/TGSPDCL vide Regd. No.5778, Dated: 03.01.2026.

**(BY ORDER AND IN THE NAME OF SOUTHERN POWER DISTRIBUTION COMPANY OF TELANGANA LIMITED)**

**MD.MUSHARRAF FARUQUI, IAS**

**CHAIRMAN & MANAGING DIRECTOR**

**To**

The Chief Engineer/Masterplan Zone

**Copy to:**

The Superintending Engineer/Masterplan/Hyderabad Circle

The Chief Engineer/P&MM/TGSPDCL

The Chief General Manager /Finance/TGSPDCL

// FORWARDED BY ORDER //

DIVISIONAL ENGINEER/O&M-II