## Contr1
SCHEDULE
Name of the work: Erection of 8Nos 8*25KVA (S-Ph DTRs) and erection of 7.1KM 11KV line and 6.56KM LT 3Ph 5Wire line at Ryalampadu R&R Center in operation section Dharror in Gadwal Sub division in Gadwal Division.WBS No.E-2019-45-01-11-03-010.
|  |  | Face Value |  |  | 785170
Sl No | Service Code | Description of work | Qty | Unit | Rates per Unit | Amount
1 | SWR10194 | LOADING of 15&25kva DTR | 8 | EA | 129 | 1032
2 | SWR10512 | UNLOADING of 15&25kva DTR | 8 | EA | 129 | 1032
3 | SWR10462 | Erection of Single Phase DTRs | 8 | EA | 1016 | 8128
4 | SWR20102 | Erection of 11kv TT type AB switch | 4 | EA | 1404.54 | 5618.16
5 | SWR10395 | Erect. of 11kv HG Fuseset incl earthing | 4 | SET | 660 | 2640
6 | SWR10357 | ERECT. OF LINES-Providing of earthing | 10 | EA | 1000 | 10000
7 | SMR11487 | S-MS Bolts & Nuts,Washers etc., | 130 | KG | 73 | 9490
8 | SMR11484 | S-CI Pipe earthing 50mm dia 2m long | 10 | EA | 2441 | 24410
9 | SMR11485 | S-Earthing GI flat 25x3 mm incl material | 60 | KG | 84 | 5040
10 | SWR11722 | Paint-Structure/DTR Code & Locaiton Name | 4 | EA | 110 | 440
11 | SWR24831 | Construct-DTR Plinth CRS 5x4x8', 4' thck | 6 | EA | 10346.6 | 62079.6
12 | SWR10407 | Running of 11kv jumpering to AB switch.. | 4 | EA | 330 | 1320
13 | SWR20117 | Erection of LT Distribution box w/o box | 2 | EA | 1736 | 3472
14 | SWR11882 | DTR-Running Interlinking Earth Wire | 4 | KG | 82 | 328
15 | SWR21911 | Fixing of LT open wiring set | 2 | EA | 300 | 600
16 | SWR23104 | Erect-11KV Seating Channel | 4 | EA | 131 | 524
17 | SWR21590 | Erection of 8.0Mts PSCC Poles for stuts | 10 | EA | 894 | 8940
18 | SWR20307 | SubTrnsprt 8M PSCC Pole incl. L&UL<10KM | 130 | EA | 242 | 31460
19 | SWR10365 | Stringing of 55sqmm 33/11kv Line 3 Cond | 3 | KM | 6798 | 20394
20 | SWR10378 | Numbering of poles incl. cost of paint | 185 | EA | 30 | 5550
21 | SWR10378 | Numbering of poles incl. cost of paint | 120 | EA | 32 | 3840
22 | SWR10105 | EXCAVATION OF PIT (2.6" x 2.6" x 5.0') | 130 | EA | 364 | 47320
23 | SWR10356 | Mass concreting of supports incl. cement | 33.31 | M3 | 5160 | 171879.6
24 | SWR22092 | survey line&cabl inc peg mark&tree clear | 7.8 | KM | 650 | 5070
25 | SWR20308 | SubTrnsprt 9M PSCC Pole incl. L&UL<10KM | 65 | EA | 363 | 23595
26 | SWR10107 | EXCAVATION OF PIT (2.6" x 2.6" x 6.0") | 65 | EA | 491 | 31915
27 | SWR10343 | ERECTION OF LINES-Erection of 9.1M Pole | 65 | EA | 2108 | 137020
28 | SWR10342 | ERECTION OF LINES-Erection of 8M Pole | 120 | EA | 894 | 107280
29 | SWR21932 | Exc Stay pit 0.45x0.45x1.265M Norml Soil | 30 | EA | 260 | 7800
30 | SWR10707 | Stringing of LT 1ph line 3 condu(55sqmm) | 3.6 | KM | 6000 | 21600
31 | SWR20603 | Fixing of 1Ph meters in the box | 1 | EA | 53 | 53
32 | SWR10353 | Assembly and erection of Stay set11kv&LT | 30 | SET | 480 | 14400
33 | SWR10705 | Stringing of LT 3ph line 5 condu(55sqmm) | 1.2 | KM | 9083 | 10899.6
|  | GRAND TOTAL |  |  |  | 785169.96
Conditions :
1 | The Contractor will have provide his own labour, T&P and Sub-Transport up to 10km at his cost and above 0.10 to 5.00 km will be paid as per SSR.
2 | The required materials will be Supplied by the TSSPDCL on free of cost except which are not available matching materials in stores.
3 | The Contractor will be responsible for any accident to any of his workers and liability that may arise for payment of compensation under provision of act of A.P.
4 | The work shall be taken up strictly as per the Seniority and management instructions
5 | Agreement concluded with available SSR-2023-24 codes
Signature of the Contractor. |  |  |  | Superintending Engineer
Operation Gadwal.
COMPARATIVE STATEMENT
The Rates quoted by M/s Vijetha Electrical Constructions, Wanaparthy Has Quoted lowest rates. Hence accepted.
Sl No | Service Code | Description of work | Qty | Unit | SSR Rates per Unit
The Rates quoted by Mr. Ravendra Goud, Contractor, K.R.Cheruvu has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. Sreenivasa Goud, Contractor, Shanthinagar has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. E.Nagendra, Contractor, Kurnool has quoted lowest rates. Hence accepted.
The Rates quoted by M/s Vijetha Electricals, Contractor, Wanaparthy has quoted lowest rates. Hence accepted.
The Rates quoted by M/s Harika Electricals, Contractor, Ieeza has quoted lowest rates. Hence accepted.
The Rates quoted by Mr. Praveen Kumar, Contractor, Gadwal has quoted lowest rates. Hence accepted.
| Rates quoted by the Contractor | Amount quoted by the Contractor
Sub-Total:
12.36 % Service tax: | [5 empty] | 0
Total: | [5 empty] | 0
Sri Raghavendra Goud, Civil & Electrical contractor, H. No. 2-21, K.R Cheruvu, Maldakal
Sri E.Nagendra, Contractor, Electrical & Civil Works, H. No. 40-310A, Bhagyanagar, Kurnool
M/s Vijetha Electrical Constructions, H. No. 42-187/6, Vengalrao Colony, Wanaparthy
Sri S.E.Sreenivasa Goud, Contractor, Electrical&Civil Works, Shanthinagar vg., Waddepally M

## Sheet1
1606.5
1500
3106.5
33379.81
13733.04
24403.5
71516.35
. | 68409.85

## Compatibility Report
Compatibility Report for T-2239-45-01-13-02-001.xls
Run on 1/20/2023 22:41
The following features in this workbook are not supported by earlier versions of Excel. These features may be lost or degraded when you save this workbook in an earlier file format.
Significant loss of functionality | # of occurrences
Some cells have overlapping conditional formatting ranges. Earlier versions of Excel will not evaluate all of the conditional formatting rules on the overlapping cells. The overlapping cells will show different conditional formatting. | 6
'Contr1'!B15:B38
'Contr1'!B8
Some cells contain conditional formatting with the 'Stop if True' option cleared. Earlier versions of Excel do not recognize this option and will stop after the first true condition. | 5
'Contr1'!B6:B38